{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":43,"n_cols":14,"rows_kept":43,"cut":false,"hidden":false,"merged":[[2,2,2,13],[4,5,4,6],[4,7,4,8],[4,9,4,10],[6,11,6,13],[10,2,11,2],[6,3,6,10],[10,3,11,10],[10,11,11,13],[18,3,18,10],[18,11,18,13],[13,11,13,13],[9,11,9,13],[20,1,21,1],[20,2,21,2],[20,3,21,10],[20,11,21,13],[23,1,24,1],[23,2,24,2],[23,3,24,10],[23,11,24,13],[28,1,29,1],[28,2,29,2],[28,3,29,10],[28,11,29,13],[32,1,33,1],[32,2,33,2],[32,3,33,10],[32,11,33,13],[35,1,36,1],[35,2,36,2],[35,3,36,10],[35,11,36,13],[43,1,44,1],[43,2,44,10],[43,11,44,13]]}
[]
[]
[null,null,"SZTE NYOMÁSTARTÓ BERENDEZÉSEK"]
[]
[null,null,"STERILEZŐ","GŐZFEJLESZTŐ","LÉGTARTÁLY","AUTOKLÁV",null,"  KAZÁNOK",null,"OLAJTÁROLÓK"]
[null,"SZTE számozás","Intézmény neve","Üzemel","Berendezés elnevezése","Gyári szám","Gyártási év","KAR megnev.:","Besorolási (üzemi) nyomás (bár)","Besorolási térfogat","ps.v","Külső ellenőrzés","Belső ellenőrzés","Szilárdsági ellenőrzés"]
[null,null,"Klinikakert \"É\""]
[null,5,"Sebészeti klinika","Szeged, Pécsi u. 6.","gőzfejlesztő  CERTUSS",27030,2002,"ÁOK (b)",4.5,53,238.5,"2013-11-21","-","2013-11-21"]
[null,7,"Szemészeti klinika","Korányi fasor 10-11.","gőzfejlesztő CERTUSS",27029,2002,"ÁOK (b)",4.5,53,238.5,"2013-11-21","-","2013-11-21"]
[null,null,"Kémia épület","Dóm tér 7-8.","légtartály",1137,2011,"TTIK",11,270,2970,"Hatósági bejelentés+engedélyeztetés!"]
[null,null,"Klinikakert \"D\""]
[]
[null,43,"410 ágyas klinika","Semmelweis u. 6.","légtartály",20999,1988,"ÁOK (b)",16,1000,16000,"2013-08-12","2013-08-12"]
[null,null,"410 ágyas klinika","Semmelweis u. 6.","légtartály","21698-21708",2006,"ÁOK (b)",11,500,5500,"Hatósági bejelentés+engedélyeztetés!"]
[null,70,"Női Klinika","Semmelweis u.1.","GE 2609-1 Sterilező",980831,1998,"ÁOK","3/-1 és 3.5",415,null,"2013-02-28","2013-02-28"]
[null,23,"Klinikai Mikrobiol. Int.","Semmelweis u. 6.","autokláv     em.",433,1977,"TTIK",2.5,115,287.5,"2013-10-24","2013-10-24"]
[null,24,"Klinikai Mikrobiol. Int.","Semmelweis u. 6.","autokláv     em.","31-4764/0",null,"TTIK","3,0/ 1és3,0","150/16",null,"2013-11-24","2013-11-24"]
[null,25,"Klinikai Mikrobiol. Int.","Semmelweis u. 6.","autoklav",452,1977,"TTIK",2.5,115,null,"2013-10-24","2013-10-24"]
[null,null,"Domaszék"]
[null,38,"Domaszék","Domaszék külterület.","VERU gőzkazán",1081,1989,"ÁOK (o)",3.5,110,385,"2013-08-02","2013-08-02"]
[null,null,"GYTK"]
[]
[null,50,"GYTK","Eötvös u. 2.","légtartály",29016,1975,"GYTK",10,2000,20000,"2013-08-18","2013-08-18"]
[null,null,"Biológia Újszeged"]
[]
[null,60,"Biológia Mikrobiológia Tsz","Közép fasor 52.        3.em.","autokláv","31-18200/9",null,"TTIK",2.5,150,375,"2013-11-21","2013-11-21"]
[null,29,"Biol.Mikrobiol.Tanszék","Közép fasor 52.        3.em.","autokláv","315382/2",null,"TTIK",2.5,150,375,"2013-11-21","2013-11-21"]
[null,30,"Biol.Mikrobiol.Tanszék","Közép fasor 52.        3.em.","autokláv","1511-558-53",1958,"TTIK",2.5,125,312.5,"2013-11-21","2013-11-21"]
[null,null,"Mérnök kar"]
[]
[null,55,"SZTE MK","Moszkvai krt. 5-7.","TP 300/12G   I.",9182,1987,"MK",8,860,6880,"2013-07-06","2013-07-06"]
[null,56,"SZTE MK","Moszkvai krt. 5-7.","TP 300/12G   II.",9183,1987,"MK",8,860,6880,"2013-07-06","2013-07-06"]
[null,null,"MGK Hmvhely"]
[]
[null,33,"SZTE MGK Hmvhely Mikrobiológia","Andrássy u.15.","autokláv",81013,1981,"MGK","1és2,5/2,5",150,null,"2013-10-30","2013-10-30"]
[null,null,"II. Korház"]
[]
[null,80,"II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 669-2V",5042,2005,"ÁOK",3,493,null,"2013-01-14","2013-01-14"]
[null,79,"II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 669-2V",5041,2005,"ÁOK",3,493,null,"2013-01-14","2013-01-14"]
[null,81,"II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 66-12-V",5017,2005,"ÁOK",2.75,713,null,"2013-10-18"]
[null,85,"II. Korház","Kálvária sgt. 57.","Atlas Copco GX 7",44925,2005,"ÁOK",11,270,null,"2013-03-03","2013-03-03"]
[null,86,"II. Korház","Kálvária sgt. 57.","Atlas Copco GX 7",44918,2005,"ÁOK",11,270,null,"2013-03-13","2013-03-03"]
[null,87,"II. Korház","Kálvária sgt. 57.","Atlas Copco GX 7",44935,2005,"ÁOK",11,270,null,"2013-03-03","2013-03-03"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}