{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":13,"n_cols":5,"rows_kept":13,"cut":false,"hidden":false,"merged":[[0,0,0,1]]}
["Termékspecifikáció"]
[]
["Sorszám","Megnevezés","Specifikáció","Kiszerelés","Igényelt mennyiség"]
["1.","Poliakrilsav","átlagos móltömeg kb. 1800 (MW = 1800)","5 gramm",1]
["2.","Deutérium oxid (D2O)","minimum 99.95% tisztaság, semmilyen adalékot nem tartalmaz (pl. NMR felhasználásra)","10 gramm üvegedény vagy 10 x 0,75-1 mL ampulla",1]
["3.","Deutérium szegényített víz","legfeljebb 2-3 ppm D tartalom, semmilyen adalékot nem tartalmaz (pl. NMR célra)","10 g (vagy 10ml)",1]
["4.","Eldobható műanyag küvetta spektrofotometriás méréshez","standard méret, 10 mm oldalhossz, max. kb. 4 mL térfogat, anyaga akril (PMMA), legalacsonyabb használható hullámhossz 300 nm","100 vagy 1000 db/csomag","1 csomag"]
["5.","Polipropilén mintatartó folyadékedény","Polipropilén mintatartó folyadékedény, 60 mL-es, csavaros kupakkal, egyenes oldalú (hengeres)","700 db/csomag","1 csomag"]
["6.","Polipropilén autosampler mintatartó edény","Agilent #G3160-65303 típusú, 6 mL PP anyagú mintatartó edény I-AS  (Tray E, 89 pos.) automatikus mintaváltóhoz ","200 db/csomag","1 csomag"]
[]
[null,"Pénzügyi keret: "]
[]
[null,"TÁMOP-4.2.2.A-11/1/KONV-2012-0047 azonosítószámú projekt "]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}