	[image: image1.jpg]Schweizerische Eidgenossenschaft
Confédération suisse

Confederadone svzzers Swiss
Contribution




	Svájci – Magyar Együttműködési Program  SH/7/2/20



1. részajánlati kör:
	Thermo scientific Ultracentrifuge tubes
	25 db/pakg Thermo scientific Ultracentrifuge tubes, Cat.: 03020, polycarbonate, 10ml, without caps; RCF: at least 240000g
	4

	Xe discharge lamp
	XBO 150W/1
	2

	Notch Filter
	 Ø25 mm , CWL = 808 nm, FWHM = 34 nm, OD>4
	1

	Notch Filter
	 Ø25 mm , CWL = 533 nm, FWHM = 17 nm,  OD>4
	1


Figyelem!
Az ajánlatokat egyes termékekre külön-külön soronként is be lehet nyújtani, de csak a kiírásban szereplő típusnak és műszaki specifikációnak megfelelően.

	General laboratory items, consumables
	Specifications
	pieces

	Thermocouple Thermometer 
	Two K-type thermoelement, with Computer Output, dual, Measuring range -40°C - +250°C; resolution:  0,1 (–50…+199,9); 1,0 °C
	1

	Mini Vacuum and airflow membrane pump
	Overpressure: 2.4 bar; Vacuum: 250 mbar; final pressure: 100 mbar; flow intensity 6 l/min
	1

	Magnetic stirrer
	Can be used at 5 to 40°C in an incubator or cold room, max. stirring capacity H2O (ml) 1500, speed range (min-1) 0-2500, plate dimensions (mm) 160
	1

	Magnetic stirrer
	High-power driving magnet type "PCM" operated by a mono-phase motor for contiuous operation, chemically resistant housing, max. stirring capacity H2O (l) 8, speed range (min-1) up to 1200,
	1


2. részajánlati kör:

Figyelem!

A 2. részajánlati kör értékelésére együttesen, részajánlati körként kerül sor!

Kérem, az itt felsorolt összes termékre legyen kedves beadni ajánlatot, az igénylő részajánlatot NEM értékel!

	Spectroscopic cuvettes
	Specifcations
	pieces

	Hellma absorption cuvettes with lid
	special optical glass, semi micro, 2 polished windows,H:45mm, W:12.5mm, inside w.:4mm; Vol.: 1400microL, Type 104B-OS, in pair
	2

	 
	special optical glass, semi micro, 2 polished windows,H:45mm, W:12.5mm, inside w.:4mm; Vol.: 1400microL, Type 104B-OS, single
	2

	Hellma absorption cuvettes with lid 
	100-OS, special optical glass, 10 mm light path, K,P (spectr. and polarim. measured)
	2

	 
	100-OS, special optical glass, 5 mm light path, K (spectr. measured)
	2

	 
	100-OS, special optical glass, 2 mm Light Path
	2

	 
	100-OS, special optical glass, 1 mm Light Path
	2

	Hellma fluorescence cuvettes with lid
	special optical glass, macro, 4 polished windows,H:45mm, W:12.5mm, inside w.:10mmx10mm; Vol.: 3500microL, Type 101-OS
	4

	Hellma precision fluorescence cells
	quartz suprasil, 4 polshed windows, 2 pcs, with PTFE lid, 10x10 mm pathlength, type 101-QS
	2

	Hellma quartz suprasil  precision fluorescence cells 
	4 windows, without stopper, 3x3 mm pathlength
	4

	Hamilton syringes with removable needle, 700 series
	5 microliter volume
	2

	 
	25 microliter volume
	2

	 
	100 microliter volume
	2

	Replacement needles 
	for the 5 microliter Syringe (type 26s ga)
	1

	 
	for the 25 and 100 microliter Syringe (type 22s ga)
	1

	Syringe
	disposable 0.5 ml with fixed needle sterile 1 * 100 items
	1

	 
	disposable 1ml needle-free sterile 1 * 100 items
	1

	 
	disposable 3ml needle-free sterile 1 * 100 items
	1

	Tubing, silicon
	6/9mm, 1*15 m 
	1

	 
	4/6mm, 1*15 m
	1

	 
	1.58/2.41mm, 1*15m
	1

	Tubing, PVC
	6/8mm, 1*25m
	1


[image: image1.jpg]