{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Sheet 1 - Table 1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1904","formulas":"cached_only"}

{"sheet":"Sheet 1 - Table 1","index":0,"n_rows":30,"n_cols":4,"rows_kept":30,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,null,"SZTE/2014/PB03621 számú eljárás"]
[null,null,"Struers csiszolóberendezés és tartozékai"]
[]
[null,"Termékkód","Megnevezés","Igényelt mennyiség"]
[null,6116327,"Struers LaboPol-35",1]
[null,5556901,"Struers fedél",1]
[null,6126327,"Struers LaboForce-Mi",1]
[null,5236904,"Struers mintamozgató lemez",1]
[null,2686901,"Struers rézfólia készlet (4 db 25 μm, 6 db 8 μm)",2]
[null,40000071,"Struers gyémánt vágótárcsa (127x0,4 mm - ∅12,7 mm)",1]
[null,49900046,"Struers Corrozip 5l",1]
[null,40000029,"Struers gyémánt vágótarcsa",1]
[null,40800123,"Struers MD-Piano 80",1]
[null,40800131,"Struers MD-Piano 220",1]
[null,40800135,"Struers MD-Piano 500",1]
[null,40701009,"Struers SiC csiszolópor 600 (500 g)",2]
[null,40701021,"Struers SiC csiszolópor 1000 (300 g)",2]
[null,40701022,"Struers SiC csiszolópor 1200 (300 g)",2]
[null,40600153,"Struers DP-Spary M 6 μm",5]
[null,40600152,"Struers DP-Spary M 3 μm",5]
[null,40600151,"Struers DP-Spary M 1 μm",2]
[null,40500210,"Struers DP-Dur polírkendő",2]
[null,40200030,"Struers Epofix gyanta",1]
[null,40200031,"Struers Epofix edző",1]
[null,40300083,"Struers Flexiform",1]
[null,40300084,"Struers Flexiform",1]
[null,40300008,"Struers Seriform ∅30 mm, 10 db",1]
[null,"DE-0CON-151-90","Struers tárgylemez 28 x 48mm, 1.2 - 1.5 mm thick (100 db)",10]
[null,"DE-L810204","Struers tárgylemez 47x47mm, 1,5-1,8 mm thick (100 db)",10]