{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":70,"n_cols":14,"rows_kept":70,"cut":false,"hidden":false,"merged":[[70,1,70,6],[70,7,70,8],[66,1,66,2],[68,7,68,8],[69,7,69,8],[68,1,68,6],[69,1,69,6],[66,3,66,13],[3,11,3,12],[48,11,48,12],[67,1,67,6],[67,7,67,8],[67,11,67,12],[43,1,43,6],[38,7,38,8],[39,1,39,6],[40,1,40,6],[38,1,38,6],[41,1,41,6],[42,1,42,6],[6,1,6,6],[3,7,3,8],[3,1,3,6],[4,1,4,6],[5,1,5,6],[5,7,5,8],[7,7,7,8],[8,7,8,8],[7,1,7,6],[8,1,8,6],[9,1,9,6],[34,7,34,8],[35,7,35,8],[36,7,36,8],[37,7,37,8],[36,1,36,6],[37,1,37,6],[35,1,35,6],[34,1,34,6],[33,7,33,8],[33,1,33,6],[28,7,28,8],[18,7,18,8],[30,1,30,6],[2,4,2,13],[2,1,2,3],[47,1,47,3],[47,4,47,13],[48,1,48,6],[48,7,48,8],[40,7,40,8],[27,7,27,8],[15,7,15,8],[16,7,16,8],[17,7,17,8],[15,1,15,6],[16,1,16,6],[17,1,17,6],[6,7,6,8],[64,1,64,6],[63,1,63,6],[62,1,62,6],[49,1,49,6],[50,1,50,6],[57,1,57,6],[58,1,58,6],[59,1,59,6],[60,1,60,6],[61,1,61,6],[51,1,51,6],[52,1,52,6],[53,1,53,6],[54,1,54,6],[55,1,55,6],[56,1,56,6],[53,7,53,8],[50,7,50,8],[63,7,63,8],[54,7,54,8],[55,7,55,8],[56,7,56,8],[57,7,57,8],[58,7,58,8],[59,7,59,8],[60,7,60,8],[61,7,61,8],[52,7,52,8],[49,7,49,8],[29,1,29,6],[29,7,29,8],[25,7,25,8],[26,7,26,8],[19,7,19,8],[22,1,22,6],[13,1,13,6],[13,7,13,8],[11,7,11,8],[12,7,12,8],[11,1,11,6],[12,1,12,6],[41,7,41,8],[42,7,42,8],[32,7,32,8],[23,1,23,6],[24,1,24,6],[20,7,20,8],[21,7,21,8],[22,7,22,8],[23,7,23,8],[24,7,24,8],[18,1,18,6],[19,1,19,6],[20,1,20,6],[21,1,21,6],[25,1,25,6],[26,1,26,6],[27,1,27,6],[28,1,28,6],[31,1,31,6],[31,7,31,8],[32,1,32,6]]}
[]
[]
[null,"Hidegvíz almérők"]
[{"$nulls":7},"Cím",null,"Méret","Beszerelés vagy gyártás éve","Tipus",null,"Új Gy. Szám"]
[]
[null,"GE Hungary Zrt. (466114/07) ",{"$nulls":5},"Korányi fasor 14-15",null,"1/2\"",2007,"NA 15","menetes"]
[null,"ÁOK zárt forgalmú gyógyszertár (I. Bel kl.) (02618282)",{"$nulls":5},"Korányi fasor 8.",null,"3/4\"",2004,"NA 20","menetes"]
[null,"ÁOK 410 ágyas Klinika II. (Állomás u.) (832206)   feltöltő víz",{"$nulls":5},"Semmelweis u. 6.",null,"1/2\"",null,"NA 15","menetes"]
[null,"ÁOK 410 ágyas Klinika I. (Semmelweis u.) (832320)  feltöltő víz",{"$nulls":5},"Semmelweis u. 6.",null,"3/4\"",null,"NA 20","menetes"]
[null,"ÁOK Dóm téri hőközpont (17054523)   feltöltő víz",{"$nulls":5},"Dóm tér 10.",null,"3/4\"",null,"NA 20","menetes"]
[null,"ÁOK Orvosbiológiai Intézet (99851)   feltöltő víz",{"$nulls":5},"Somogyi u. 4.",null,"1/2\"",null,"NA 15","menetes"]
[null,"ÁOK Mosoda hőközpont I. (376073-06)",{"$nulls":5},"Semmelweis u. 8.",null,"2\"",2005,"NA 50","menetes"]
[null,"ÁOK Gázmotor(I-II.) (273211)",{"$nulls":5},"Semmelweis u. 8.",null,"3/4\"",2003,"NA 20","menetes"]
[null," ÁOK Központi műhely I. (volt Testnevelési Tanszék faház)",{"$nulls":5},"Állomás u. 2.",null,"1/2\"",1998,"NA 15","menetes"]
[]
[null,"Kolibri Büfé (131687/07)",{"$nulls":5},"Középfasor 52.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Solvo I. (570292/06)",{"$nulls":5},"Középfasor 52.",null,"1/2\"",2006,"NA 15","menetes"]
[null,"Solvo II. (566479/06)",{"$nulls":5},"Középfasor 52.",null,"1/2\"",2006,"NA 15","menetes"]
[null,"Gödör étterem fehér mosogató (222719/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem fekete mosogató (221676/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem folyosó mosogató (221765/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem folyosó vendég wc (221660/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem főzőkonyha előkonyha (221767/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem húsos (221792/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem mosdókagyló (221678/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem nagykonyha elektromos üst (221651/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem női wc (221671/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem öltöző folyosó (221645/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem öltözök (221771/07)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör hidegvíz almérő (382388-06)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2006,"NA 15","menetes"]
[]
[null,"Lázár Ferenc büfé (010013318818)",{"$nulls":5},"Boldogasszony sgt. 8.",null,"1/2\"",2010,"NA 15","menetes"]
[null,"Katona Zsolt Büfé (130894/07)",{"$nulls":5},"Topolya sor 2-4.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"JGYTF Klub büfé",{"$nulls":5},"Hattyas u. 6-8.",null,"1\"",null,"NA 25","menetes"]
[null,"JGYTF (volt) Hadkiegészítő Parancsnokság (almérő) (23863002)",{"$nulls":5},"Hattyas u. 6-8.",null,"2\"",2002,"NA 50","menetes"]
[null,"JGYTF Földrajz Tsz (almérő) (802133)",{"$nulls":5},"Hattyas u. 6-8.",null,"3/4\"",1998,"NA 20","menetes"]
[null,"JGYTF Román Tsz (almérő) (24206817)",{"$nulls":5},"Hattyas u. 6-8.",null,"3/4\"",2002,"NA 20","menetes"]
[null,"JGYTFK Hattyas u-i oktatási épületek - Hadkieg I. - (almérő) (30518426)",{"$nulls":5},"Hattyas u. 6-8.",null,"1\"",2002,"NA 25","menetes"]
[null,"JGYTFK Hattyas u-i oktatási épületek - Hadkieg II. - (almérő) (20947609)",{"$nulls":5},"Hattyas u. 6-8.",null,"1\"",2002,"NA 25","menetes"]
[]
[null,"GTTG Ker.Bt. (almérő) (161106)",{"$nulls":5},"Hmvhely. Andrássy u. 15",null,"6/4\"",1995,"NA 40","peremes"]
[null,"Mosoda (al-almérő) (160567) ",{"$nulls":5},"Hmvhely. Andrássy u. 15",null,"1/2\"",1994,"NA 15","menetes"]
[null,"Műszaki Gyakorló (al-almérő) (03115948) ",{"$nulls":5},"Hmvhely. Andrássy u. 15",null,"1/2\"",1995,"NA 15","menetes"]
[]
[]
[]
[]
[null,"Melegvíz almérők"]
[{"$nulls":7},"Cím",null,"Méret","Beszerelés vagy gyártás éve","Tipus",null,"Új Gy. Szám"]
[null,"ÁOK Jancsó Kollégium (almérő) (4052546)",{"$nulls":5},"Semmelweis utca 7-9.",null,"2\"",1996,"NA 50","peremes"]
[null,"GE Hungary Zrt. (423587/05) ",{"$nulls":5},"Tisza Lajos krt. 113.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Irinyi HMV kör"]
[null,"Gödör fehér mosogató hmv almérő (376173-06)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2006,"NA 15","menetes"]
[null,"Gödör elektromos üst almérő (225260/07)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem főzőkonyha almérő (225251/07)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem húsos almérő (376162/06",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör étterem mosdókagyló almérő (225255/07)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör fekete mosogató hmv almérő (376180-06)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2006,"NA 15","menetes"]
[null,"Gödör folyosó (volt tálaló) hmv almérő (316148-06)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2006,"NA 15","menetes"]
[null,"Gödör folyosó bejárat (volt wc-közlekedő) hmv almérő (376164-06)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2006,"NA 15","menetes"]
[null,"Gödör iroda melletti almérő (132144/07)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"Gödör öltöző (volt húsos) hmv almérő (376166-06)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"1/2\"",2006,"NA 15","menetes"]
[]
[null,"Kolibri Büfé (343180/05)",{"$nulls":5},"Közép fasor 52.",null,"1/2\"",2010,"NA 15","menetes"]
[]
[]
[null,"Kútvíz mérők:"]
[{"$nulls":7},"Cím",null,"Méret","Beszerelés vagy gyártás éve","Tipus",null,"Új Gy. Szám"]
[null,"Domaszék állatház",{"$nulls":5},"Domaszék kült. 045/23",null,"2\"",2010,"NA 50","peremes"]
[null,"Füvészkert",{"$nulls":5},"Lövölde út 42.",null,"2 1/2\"",2010,"NA 65","peremes"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}