|  | részajánlati kör |  |  |
| --- | --- | --- | --- |
| vegyszer megnevezése | Tisztaság, specifikáció | kiszerelés | mennyiség |
| Amersham Protran Premium 0.2 NC 300mm*4m 1 roll/PK | - Nitrocellulose blotting membrane, with 0.2 µm pore size, provides excellent sensitivity, resolution, and low background in fluorescence Western blotting detection applications. Low auto-fluorescence across a wide range of excitation/emission wavelengths makes the membrane suitable for fluorescence-based immunodetection and multiplexing. High binding capacity (173 – 203 µg IgG/cm2) of small proteins (< Mr 20 000) reduces risk of "blow-through". Available in popular precut sizes for your application. - Amersham Protran Premium offers excellent sensitivity, resolution, and low background, especially when used with the fluorescence Amersham ECL Plex Western Blotting Detection System. - Pore Size 0.2 µm - Application Western, Southern and Northern Blotting - Binding Capacity 173-203 µg IgG/cm2 - Autoclavable Yes (steam autoclave) | Doboz (300mm*4m) | doboz |
|  | részajánlati kör |  |  |
| vegyszer megnevezése | Tisztaság, specifikáció | kiszerelés | mennyiség |
| Human/Mouse/Rat GDF-8/Myostatin Affinity Purified Polyclonal Ab AF788 | - Human/Mouse/Rat GDF-8/Myostatin Antibody - species reactivity:Human/ Mouse/ Rat - Applications: Western Blot Immunohistochemistry Neutralization - Label:N/A - Immunogen:E. coli-derived recombinant mouse GDF-8/Myostatin. Asp268-Ser376 Accession Number O08689 Source:Polyclonal Goat IgG - Purification:Antigen Affinity-purified - Specificity:Detects human, mouse, and rat GDF-8/Myostatin in direct ELISAs and Western blots. In direct ELISAs, this antibody shows approximately 5% cross-reactivity with recombinant mouse (rm) GDF-5 and rmGDF-6. Western Blot: 0.1 µg/mL Immunohistochemistry: 5-15 µg/mL | 100 µg | µg |
|  | részajánlati kör |  |  |
| vegyszer megnevezése | Tisztaság, specifikáció | kiszerelés | mennyiség |
| Anti-Desmin antitest Clone D33 M0760 | Monoclonal mouse antibody provided in liquid form as cell culture supernatant dialysed against 0.05 mol/L Tris/HCl, pH 7.2, and containing 15 mmol/L NaN3. Clone: D33. Isotype: IgG1, kappa. immunogen: Desmin purified from human muscle Monoclonal Mouse Anti-Human Desmin, Clone D33, is intended for use in immunohistochemistry. The antibody labels smooth and striated muscle cells as well as mesothelial cells, and is a useful tool for the identification of rhabdomyosarcomas , leiomyomas, and mesotheliomas. Specificity: In Western blotting of cytoskeletal preparations of MCF-7 cells, SCC-4 cells RT-112 cells, skin epidermis, primary culture of renal carcinoma cells, leiomyoma, fetal heart, and crude extract from human white matter of brain, the antibody labels only a ~53 kDa band in the leiomyoma and fetal heart preparations, proving the reactivity with desmin, and demonstrating the absence of reactivity with other types of intermediate filaments tested . | 1 ml | ml |
|  | részajánlati kör |  |  |
| vegyszer megnevezése | Tisztaság, specifikáció | kiszerelés | mennyiség |
| Akt (pan) (C67E7) Rabbit mAb #4691 | Akt (pan) (C67E7) Rabbit mAb MW 60 kDa Isotype: Rabbit IgG source: rabbit Product Usage Information Application Dilutions Western Blotting 1:1000 Immunoprecipitation 1:50 Immunohistochemistry 1:300 Immunofluorescence 1:400 Flow Cytometry 1:100 Storage: Supplied in 10 mM sodium HEPES (pH 7.5), 150 mM NaCl, 100 µg/ml BSA, 50% glycerol and less than 0.02% sodium azide. Store at –20°C. Species Reactivity: Human, Mouse, Rat, Monkey, D. melanogaster Species predicted to react based on 100% sequence homology: Pig Specificity / Sensitivity: Akt (pan) (C67E7) Rabbit mAb detects endogenous levels of total Akt protein. This antibody does not cross-react with other related proteins. Source / Purification: Monoclonal antibody is produced by immunizing animals with a synthetic peptide corresponding to residues in the carboxy-terminal sequence of mouse Akt. | 100 ul | 100 ul |
| Phospho-GSK-3α/β (Ser21/9) Antibody #9331 | Phospho-GSK-3α/β (Ser21/9) Antibody Source: rabbit Product Usage Information Application Dilutions Western Blotting 1:1000 Immunohistochemistry 1:50 Storage: Supplied in 10 mM sodium HEPES (pH 7.5), 150 mM NaCl, 100 µg/ml BSA and 50% glycerol. Store at –20°C. Specificity / Sensitivity: Phospho-GSK-3alpha/beta (Ser21/9) Antibody detects endogenous levels of GSK-3 only when phosphorylated at serine 21 of GSK-3alpha or serine 9 of GSK-3beta. Species Reactivity: Human, Mouse, Rat, Monkey, Zebrafish Source / Purification Polyclonal antibodies are produced by immunizing animals with a synthetic phosphopeptide corresponding to the sequence of human GSK-3 alpha. Antibodies are purified by protein A and peptide affinity chromatography. | 100 ul | 100 ul |
| MYOD Antibody (5.8A) Pierce MA1-41017 | MyoD Antibody (clone 5.8A) MA1-41017 The epitope of this antibody was mapped to a region within AA 180-189 of mouse MyoD. Size: 100 μg Class: Monoclonal Type: Antibody Clone: 5.8A Host / Isotype: Mouse / IgG1, kappa Immunogen: Recombinant mouse MyoD. Reactivity: Human (Hu) Human (Hu) Mouse (Ms) Mouse (Ms) Rat (Rt) Feline (Fe) Tested Applications: Western Blot (WB) 1 μg/ml Immunofluorescence (IF) 5 μg/ml Immunocytochemistry (ICC) 5 μg/ml Immunohistochemistry (Frozen) (IHC (F)) 1:10-1:500 Immunoprecipitation (IP) 1 μg/ml Form: Liquid Concentration: 0.5mg/ml Purification: Protein G Storage Buffer: PBS with 0.05% BSA Preservative: 0.05% sodium azide Storage Conditions: Store at 4°C short term. For long term storage, store at -20°C, avoiding freeze/thaw cycles. | 100 ug | 100 ug |
| GAPDH (14C10) Rabbit mAb Cell Signaling #2118 | GAPDH (14C10) Rabbit mAb. Monoclonal antibody is produced by immunizing animals with a synthetic peptide near the carboxy terminus of human GAPDH. Product Usage Information: Application Dilutions Western Blotting 1:1000 Immunohistochemistry 1:800 Immunofluorescence 1:50 Flow Cytometry 1:100 Storage: Supplied in 10 mM sodium HEPES (pH 7.5), 150 mM NaCl, 100 µg/ml BSA, 50% glycerol and less than 0.02% sodium azide. Store at –20°C. Do not aliquot the antibody. Species Reactivity: Human, Mouse, Rat, Monkey, Bovine Species predicted to react based on 100% sequence homology: Pig | 100 ul | 100 ul |

A potenciális ajánlattevőknek a részajánlati körön belül az összes termékre egyszerre kell árajánlatot adnia.

| 5. részajánlati kör |
| --- |
| Megnevezése | Gyártói kód | mennyiség | egyéb specifikáció |
| Corning® 1-200µL Universal Fit Bulk Packed Pipet Tips, Nonsterile | Corning #4868 | 1 doboz (10 000 db pipettahegy) csomagolás: 1000 pipettahegy/zacskó; 10 000 db pipettahegy/doboz (1000 Tips/Bag, 10,000 Tips/Case) | 1-200µL Universal Fit Bulk Packed Pipet Tips, Natural, Nonsterile, 1000 Tips/Bag, 10,000 Tips/Case Graduated at the 10, 50 and 100µL volumes Volume Range: 1-200 µL Tip Shape: Round Tip Format: Bulk Pack Feature: Disposable Color: Natural Sterile: No Packaging: Bulk Pack |
| Corning® 100-1000µL Universal Fit Bulk Packed Pipet Tips, Blue, Nonsterile | Corning #4844 | 10 doboz (10 000 db pipettahegy) csomagolás: 1000 pipettahegy/zacskó; 1000 db pipettahegy/doboz (1000 Tips/Bag, 1000 Tips/Case ) | 100-1000µL Universal Fit Bulk Packed Pipet Tips, Blue, Nonsterile, 1000 Tips/Bag, 1000 Tips/Case Graduated at the 250, 500 and 1,000µL volumes Volume Range: 100-1000 µL Tip Shape: Round Tip Format: Bulk Pack Feature: Disposable Sterile: No |
| Orange Scientific 15 ml-es centrifugacső, kúpos aljú, steril (Centrifugal Tube 15 ml conical) | 4440300 | 2 doboz (1000 db; kiszerelési egység: 500 db/doboz; 25 db/zacskó) | volume (ml): 15 units/bag: 25 units/case: 500  Made of Highly transparent, excellent chemical resistance clarity and gloss, anti static Polypropylene, high clarity and toughness, high light transferability with minimal light distortion  Precise, printed graduation along the tube − and engraved graduation on the cone − to allow easy reading of small volumes  Clear white marking area suitable for ballpoint pens  Sterile tubes are packaged in ‘peel-off’ bags to ease opening and are resealable thus preventing contamination  Sterile Tubes are certified as having been sterilised by gamma radiation  Sterile Tubes are certified as having an endotoxin level of <0.5 EU/ml  Sterile Tubes are certiﬁed as being DNA and RNA free  All certiﬁcates are available upon request  Made out of high quality and resistant Polypropylene CENTRIFUGAL FORCE: CONICAL TUBES UP TO 12000 X G ADMISSIBLE TEMPERATURE: -80°C TO +121°C |
| Orange Scientific 50 ml-es centrifugacső, steril (Centrifugal Tube 50 ml Rim) | 4440200 | 1 doboz (500 db; kiszerelési egység: 500 db/doboz; 25 db/zacskó) | volume (ml): 50 units/bag: 25 units/case: 500  Made of Highly transparent, excellent chemical resistance clarity and gloss, anti static Polypropylene, high clarity and toughness, high light transferability with minimal light distortion  Precise, printed graduation along the tube − and engraved graduation on the cone − to allow easy reading of small volumes  Clear white marking area suitable for ballpoint pens  Sterile tubes are packaged in ‘peel-off’ bags to ease opening and are resealable thus preventing contamination  Sterile Tubes are certified as having been sterilised by gamma radiation  Sterile Tubes are certified as having an endotoxin level of <0.5 EU/ml  Sterile Tubes are certiﬁed as being DNA and RNA free  All certiﬁcates are available upon request  Made out of high quality and resistant Polypropylene CENTRIFUGAL FORCE: TUBES WITH SKIRT UP TO 6000 X G ADMISSIBLE TEMPERATURE: -80°C TO +121°C |
| Szerológiai pipetta 2 ml-es | PN2E1 | 1 csomag (500 db; kiszerelési egység: 500 db / csomag) | 2 ml pipette - individually wrapped Certiﬁed as having been sterilised by gamma radiation Certiﬁed Non-Pyrogenic Certiﬁed Non-Cytotoxic Certiﬁed Non-Hemolytic Negative graduation provides additional volume A plug is inserted into the top end to prevent liquid from penetrating pipettors Colour-coding system makes identifying the pipette volume quick and easy |
| Szerológiai pipetta 5 ml-es | PN5E1 | 5 csomag (1000 db; kiszerelési egység: 250 db / csomag) | 5 ml pipette - individually wrapped Certiﬁed as having been sterilised by gamma radiation Certiﬁed Non-Pyrogenic Certiﬁed Non-Cytotoxic Certiﬁed Non-Hemolytic Negative graduation provides additional volume A plug is inserted into the top end to prevent liquid from penetrating pipettors Colour-coding system makes identifying the pipette volume quick and easy |
| Szerológiai pipetta 10 ml-es | PN10E1 | 2 csomag (400 db; kiszerelési egység: 200 db / csomag) | 5 ml pipette - individually wrapped Certiﬁed as having been sterilised by gamma radiation Certiﬁed Non-Pyrogenic Certiﬁed Non-Cytotoxic Certiﬁed Non-Hemolytic Negative graduation provides additional volume A plug is inserted into the top end to prevent liquid from penetrating pipettors Colour-coding system makes identifying the pipette volume quick and easy |
| 24 flat test plate (24 lyukú sejttenyésztő-edény) | 4430300 | 1 doboz (100 db test plate/ doboz, egyenként csomagolva) | max well volume: 3.50 ml working volume: 0.38-0.57 ml cell growth area: 1.93 cm2 units/bag: 1 units/case: 100  Made of USP VI class virgin Polystyrene, high clarity and toughness, high light transferability with minimal light distortion  Guaranteed even surface reﬁnement in the growth zone  Special surface treatment – no chemicals are used – to provide an optimal growth surface  Air extraction design maximises external/ internal gas exchange, while reducing media evaporation without altering CO2 diffusion  Alpha-numeric identification method to identify each well  Specially designed lid separates each well, thus preventing liquid or condensate cross-contamination  Deep spacing between the wells to prevent cross-contamination  Cut corner makes the lid a “one-way“ lid  Special design allows easy and stable stacking  Optimum optical clarity for microscope obser-vation  Packaged in easy to peel paper back and plastic packs  Test Plates are certiﬁed as having been sterilised by gamma radiation  Test plates are certified as being DNA and RNA free  Test plates are certiﬁed as having an endotoxin level of <0.5 EU/ml |
| 6 flat test plate (6 lyukú sejttenyésztő-edény) | 4430500 | 1 doboz (100 db test plate/ doboz, egyenként csomagolva) | max well volume: 17.0ml working volume: 1.90-2.90ml cell growth area: 9.60 cm2 units/bag: 1 units/case: 100  Made of USP VI class virgin Polystyrene, high clarity and toughness, high light transferability with minimal light distortion  Guaranteed even surface reﬁnement in the growth zone  Special surface treatment – no chemicals are used – to provide an optimal growth surface  Air extraction design maximises external/ internal gas exchange, while reducing media evaporation without altering CO2 diffusion  Alpha-numeric identification method to identify each well  Specially designed lid separates each well, thus preventing liquid or condensate cross-contamination  Deep spacing between the wells to prevent cross-contamination  Cut corner makes the lid a “one-way“ lid  Special design allows easy and stable stacking  Optimum optical clarity for microscope obser-vation  Packaged in easy to peel paper back and plastic packs  Test Plates are certiﬁed as having been sterilised by gamma radiation  Test plates are certified as being DNA and RNA free  Test plates are certiﬁed as having an endotoxin level of <0.5 EU/ml |
| Tárgylemez tartó doboz, 100 helyes | R-100 | 15 darab | Tárgylemez tartó doboz, műanyag külső borítással, kapcsos záródású, belső felszíne parafával borított, vegyes színekben (piros, sárga, zöld, kék) |
| Eppendorfcső Rack, 80 db eppendorf csőhöz | R003-A | 1 csomag (5 db rack, 80 db Eppendorf cső tárolására/ Rack) | Eppendorfcső Rack, 80 db eppendorf csőhöz, vegyes színekben |
| Combi-Rack, neon mix | R001 | 1 csomag (5 db rack/csomag) | Combi-Rack, különböző színekben 4 x 50ml centrifuga cső, 12 x 15 ml centrifugacső , 32 x 12 x75 mm-es cső, 32 x 1,5/2,0ml-es cső, 32 x 0,5 ml-es cső tárolására, különböző színekben |
| SLGP033RS Millex-GP polyethersulfone fecskendőszűrő, 0.22 um, 33 mm, gamma sterilizált | A 33 mm diameter sterile syringe filter with a 0.22 µm pore size hydrophilic Polyethersulfone (PES) membrane. Gamma sterilized. Individually packed. | 50 db / csomag | 50 db (1 csomag) |
| Gentamicin 50 mg/ml Lonza 17-528Z | Gentamicin 50 mg/ml 1 x 10 ml screw cap vial | 10 ml / üveg | 10 ml |

A potenciális ajánlattevőknek a részajánlati körön belül az összes termékre egyszerre kell árajánlatot adnia.

| 6. részajánlati kör |
| --- |
| Vegyszer megnevezése | Tisztaság, specifikáció | kiszerelés | mennyiség |
| S5886 Sodium chloride, BioReagent, suitable for cell culture, suitable for insect cell culture, suitable for plant cell culture, ≥99% | BioReagent, suitable for cell culture, suitable for insect cell culture, suitable for plant cell culture, ≥99% assay ≥99% mp 801 °C(lit.) suitability suitable for cell culture suitable for insect cell culture suitable for plant cell culture | 1 kg / doboz | 1 kg |
| P8833 Puromycin dihydrochloride from Streptomyces alboniger | powder, BioReagent, suitable for cell culture Quality Level : PREMIUM product line : BioReagent assay ≥98% (HPLC) form powder solubility H2O: soluble50 mg/mL suitability : suitable for cell culture storage temp. : −20°C | 25 mg / doboz | 25 mg |
| A3678 Ammonium persulfate for molecular biology, for electrophoresis, ≥98% | grade for electrophoresis for molecular biology vapor density 7.9 (vs air) assay ≥98% anion traces chloride (Cl-): <10 ppm cation traces Fe: <10 ppm heavy metals (as Pb): <50 ppm | 25 g / doboz | 25g |
| D2650 Dimethyl sulfoxide Hybri-Max™, sterile-filtered, BioReagent, suitable for hybridoma, ≥99.7% | Hybri-Max product, hybridoma tested and is assessed for suitability in cell freezing. Sterile filtered (0.2 micron) and tested for endotoxin levels. grade Hybri-Max™ vapor density 2.7 (vs air) vapor pressure 0.42 mmHg ( 20 °C) sterility sterile-filtered product line BioReagent assay ≥99.7% autoignition temp. 573 °F expl. lim. 42 %, 63 °F impurities endotoxin, tested refractive index n20/D 1.479(lit.) bp 189 °C(lit.) mp 16-19 °C(lit.) density 1.10 g/mL(lit.) suitability suitable for hybridoma | 100 ml in amber bottle | 100 ml |
| A9647 Bovine Serum Albumin heat shock fraction, pH 7, ≥98% | heat shock fraction, pH 7, ≥98% assay ≥98% form lyophilized powder mol wt mol wt ~66 kDa purified by heat shock fractionation origin USA origin pH 7 storage temp. 2-8°C | 100g/doboz | 100g |
| Hoechst 33258 solution 1 mg/mL in H2O, ≥98.0% (HPLC) | concentration 1 mg/mL in H2O solubility DMF: soluble H2O: soluble fluorescence λex 355 nm; λem 465 nm in TE buffer; DNA storage temp. 2-8°C | 1 ml | 1 ml |
| 81845 Propidium iodide ≥94% (HPLC) | Propidium iodide for fluorescence assay ≥94% (HPLC) mp 220-225 °C (dec.)(lit.) fluorescence λex 482 nm; λem 608 nm (pH 7.2) λex 540 nm; λem 608 nm (bound to DNA) storage temp. 2-8°C | 25 mg | 25 mg |

A potenciális ajánlattevőknek a részajánlati körön belül az összes termékre egyszerre kell árajánlatot adnia.

Tervezett szállítási és számlakiküldési cím: SZTE ÁOK Biokémiai Intézet, 1. labor, 6720 Szeged, Dóm tér 9.

Tervezett számlázási cím: Szegedi Tudományegyetem, 6720 Szeged, Dugonics tér 13.

Kapcsolattartók és elérhetőségeik:

név:  Dr. Keller-Pintér Anikó

telefon: 06 62 545 096, 06 62 342 811, fax: 06 62 545 097

e-mail: keller.aniko@med.u-szeged.hu

név:  Bodnár Tünde

telefon: 06 62 545 096, fax: 06 62 545 097

e-mail: bodnar.tunde@med.u-szeged.hu

A projekt száma:  TÁMOP-4.2.2.A-11/1/KONV-2012-0035

Címe, megnevezése: 	„Környezeti tényezők és genetikai faktorok interakciójának vizsgálata immunmediált és daganatos betegségek kialakulásában”