{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":33,"n_cols":15,"rows_kept":33,"cut":false,"hidden":false,"merged":[[24,1,24,6],[32,7,32,8],[11,1,11,6],[17,1,17,6],[18,1,18,6],[18,7,18,8],[28,7,28,8],[30,7,30,8],[29,7,29,8],[32,1,32,6],[25,1,25,6],[26,1,26,6],[27,1,27,6],[28,1,28,6],[29,1,29,6],[30,1,30,6],[31,1,31,6],[25,7,25,8],[26,7,26,8],[27,7,27,8],[31,7,31,8],[9,7,9,8],[10,7,10,8],[12,7,12,8],[13,7,13,8],[14,7,14,8],[16,7,16,8],[24,7,24,8],[22,1,22,3],[22,4,22,14],[23,1,23,6],[23,7,23,8],[5,7,5,8],[6,7,6,8],[8,7,8,8],[9,1,9,6],[10,1,10,6],[5,1,5,6],[6,1,6,6],[8,1,8,6],[13,1,13,6],[14,1,14,6],[15,1,15,6],[16,1,16,6],[12,1,12,6],[3,7,3,8],[3,1,3,6],[4,1,4,6],[2,4,2,14],[2,1,2,3],[7,1,7,6],[7,7,7,8]]}
[]
[]
[null,"Hidegvíz almérők"]
[{"$nulls":7},"Cím",null,"Méret","Beszerelés vagy gyártás éve","Tipus","Hitelesítve","Köv. Hit. év            (8 évente)","Új Gy. Szám"]
[null,"ÁOK"]
["X","ÁOK Pathológia almérő I. Állomás u. 2. (02126486)",{"$nulls":5},"Állomás u. 2.",null,null,2003,"NA 80","peremes"]
["X","ÁOK Pathológia almérő II. Állomás u. 2. (tűzivíz) (02126459)",{"$nulls":5},"Állomás u. 2.",null,null,2003,"NA 80","peremes"]
["X","Testkultúra szalon (600040)",{"$nulls":5},"Semmelweis u. 7.",null,"1\"",1996,"NA 25","menetes"]
["X","ÁOK Új klinika (410 Ágyas Klinika) Állomás utcai almérő (890119)",{"$nulls":5},"Semmelweis u. 6.",null,null,1992,"NA 80","peremes"]
["X","Gödör étterem főzőkonyha előkonyha (97520843)",{"$nulls":5},"Irinyi épület",null,"1/2\"",2014,"NA 15","menetes"]
["X","Park büfé (010034651611)",{"$nulls":5},"Korányi fasor 14-15",null,"1/2\"",2001,"NA 15","menetes"]
[null,"MFK"]
["X","Kollégium (320946-05)",{"$nulls":5},"Hmvhely. Andrássy u. 15",null,"2\"",2005,"NA 50","peremes"]
["X","Kazánház (45340)",{"$nulls":5},"Hmvhely. Andrássy u. 15",null,"6/4\"",null,"NA 40","peremes"]
["X","Spinning terem (06-623783)",{"$nulls":5},"Hmvhely. Andrássy u. 15",null,"1/2\"",2006,"NA 15","menetes"]
[null,"ZFK"]
["X","ZFK Büfé (10034615330)",{"$nulls":5},"Tisza Lajos krt. 79-81.",null,"1/2\"",2007,"NA 15","menetes"]
[null,"FOK"]
["X","Ortoprofil bolt almérő (598822/06)",{"$nulls":5},"Tisza Lajos krt. 83",null,"1/2\"",2006,"NA 15","menetes"]
[]
[]
[]
[null,"Melegvíz almérők"]
[{"$nulls":7},"Cím",null,"Méret","Beszerelés vagy gyártás éve","Tipus","Hitelesítve","Köv. Hit. év            (8 évente)","Új Gy. Szám"]
["X","GYTK Oktatási épület - Eötvös u. (almérő) (18284498) ",{"$nulls":5},"Eötvös utca 6.",null,"5/4\"",1999,"NA 32","menetes"]
["X","ÁOK I. Bel Klinika (almérő) (198616)",{"$nulls":5},"Korányi fasor 8.",null,"5/4\"",2003,"NA 32","menetes"]
["X","ÁOK II. Bel Klinika (almérő) (96583854)",{"$nulls":5},"Korányi fasor 6-7.",null,"5/4\"",2003,"NA 32","menetes"]
["X","ÁOK Kis oktatási épület Orvos Informatika (almérő) (96516989)",{"$nulls":5},"Korányi fasor 9.",null,"3/4\"",2003,"NA 20","menetes"]
["X","ÁOK KÖZPONTI LABOROK (62126)",{"$nulls":5},"Semmelweis utca 6.",null,"1/2\"",2006,"NA 15","menetes"]
["X","ÁOK Központi Műhely \"Délalf. Neuró B.\" (almérő) (H-1/2577089)",{"$nulls":5},"Tisza Lajos krt. 113.",null,"6/4\"",2001,"NA 40","menetes"]
["X","ÁOK Sebészeti Klinika (almérő) (98073265)",{"$nulls":5},"Pécsi utca 6.",null,"2,1/2\"",1998,"NA 65","peremes"]
["X","ÁOK Sebészeti Klinika (almérő)másik mérő 0317836",{"$nulls":5},"Pécsi utca 6.",null,"5/4\"",1998,"NA 32","menetes"]
["X","Testkultúra Szalon (al-almérő) (109639276) ",{"$nulls":5},"Semmelweis utca 7-9.",null,"2\"",1992,"NA 50","peremes"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}