{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Kiegészítő anyagok"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Kiegészítő anyagok","index":0,"n_rows":51,"n_cols":7,"rows_kept":51,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Sorsz.","Cikkszám","Megnevezés","Kiszerelés","Megajánlott mennyiség","Gyártó"]
[null,null,"BioLis 24i kiegészítők"]
["1.","23-07-0055","Reaction Cuvette",60,1,"Tokyo Boeki"]
["2.","SP2057","SP2057 Lamp Assy","1 db",2,"Tokyo Boeki"]
["3.","20-27-0474F","20-27-0474F Na Electrode","1 db",3,"Tokyo Boeki"]
["4.","20-27-0475F","20-27-0475F K Electrode","1 db",3,"Tokyo Boeki"]
["5.","20-27-0476F","20-27-0476F Cl Electrode","1 db",3,"Tokyo Boeki"]
["6.","20-27-0473F","20-27-0473F Ref electrode","1 db",3,"Tokyo Boeki"]
["7.","20-30-0610","20-27-0485F Pump Tube Set ","2 db",4,"Tokyo Boeki"]
["8.","20-27-0487F","20-27-0487F Pinch Valve tube set","2 db",4,"Tokyo Boeki"]
["9.","20-27-0488F","20-27-0488F Drain Tube Set","7 db",2,"Tokyo Boeki"]
["10.","ER5746","Printerpapír, Thermo 57x46 mm","1 tekercs",1]
["11.","GHITA","Mintaedény, Hitachi, 43 mm, 2 ml","1000 db",1]
[]
[]
[]
["Sorsz.","Cikkszám","Megnevezés","Kiszerelés","Vizsg./kiszerelés Biolis 24i Premium automatán","Megajánlott mennyiség","Gyártó "]
["1.",46861,"Glukóz GOD/PAP folyékony","1 x 120 ml",500,1,"Diagnosticum"]
["2.",47061,"Koleszterin PAP folyékony","1 x 120 ml",500,1,"Diagnosticum"]
["3.",47161,"Triglicerid PAP folyékony","1 x 120 ml",500,1,"Diagnosticum"]
["4.",47661,"HDL koleszterin direkt, folyékony","1 x 45 ml + 1 x 15 ml",200,1,"Diagnosticum"]
["5.",47761,"LDL koleszterin direkt, folyékony","1 x 45 ml + 1 x 15 ml",200,1,"Diagnosticum"]
["6.",49242,"Bilirubin Totál ( R ) folyékony","2 x 100 ml",900,1,"Diagnosticum"]
["7.",49142,"Bilirubin Direkt ( R ) folyékony","2 x 100 ml",900,1,"Diagnosticum"]
["8.","06522059","ADVIA CRP II. reagens","4 x 15 ml + 4 x 15 ml",150,1,"Siemens"]
["9.",46261,"AST (GOT) folyékony","1 x 80 ml + 1 x 40 ml",550,1,"Diagnosticum"]
["10.",46361,"ALT (GPT) folyékony","1 x 80 ml + 1 x 40 ml",550,1,"Diagnosticum"]
["11.",48261,"Alkalikus Foszfatáz folyékony","1 x 100 ml + 1 x 25 ml",500,1,"Diagnosticum"]
["12.",47261,"Gamma-GT folyékony","1 x 100 ml + 1 x 25 ml",500,1,"Diagnosticum"]
["13.",46961,"Kreatin-Kináz (CK-NAC) folyékony","1 x 100 ml + 1 x 25 ml",500,1,"Diagnosticum"]
["14.",48861,"Kreatin-Kináz-MB (CK-MB) folyékony","1 x 100 ml + 1 x 25 ml",500,1,"Diagnosticum"]
[]
[]
[]
["Sorsz.","Cikkszám","Megnevezés","Kiszerelés","Megajánlott mennyiség","Gyártó"]
[null,null,"BioLis 24i kiegészítők"]
["1.","20-27-0477F","Calibrator 1 F","420 ml",12,"Tokyo Boeki"]
["2.","20-27-0478F","Calibrator 2 F","20 ml",4,"Tokyo Boeki"]
["3.","20-27-0479F","Cleaning Sol. F","25 ml",4,"Tokyo Boeki"]
["4.","SP2208/D","Alkaline Washing Sol. ","500 ml",6,"Diagnosticum Zrt."]
["5.","SP2209/D","Acid Washing Sol. ","250 ml",6,"Diagnosticum Zrt."]
["6.","DCAL","Dunacal Human Multi-Kalibrátor","6 x 3 ml",1,"Diagnosticum Zrt."]
["7.","06487741","ADVIA CRP kalibrátor","6 x 1 ml",1,"Siemens"]
["8.","617CAL","HDL koleszterin direkt kalibrátor","3 x 3 ml",1,"Diagnosticum Zrt."]
["9.","717CAL","LDL koleszterin kalibrátor","5 x 1 ml",1,"Diagnosticum Zrt."]
["10.","DCON-N","Dunacont N humán kontroll szérum","6 x 5 ml",1,"Diagnosticum Zrt."]
["11.","DCON-P","Dunacont P humán kontroll szérum","6 x 5 ml",1,"Diagnosticum Zrt."]
["12.","CRP/COL-001","CRP kontroll alacsony","1 ml",1,"Aptec"]
["13.","CRP/COL-005","CRP kontroll alacsony","5 ml",1,"Aptec"]
["14.","CRP/COH-001","CRP kontroll magas","1 ml",1,"Aptec"]
["15.","CRP/COH-005","CRP kontroll magas","5 ml",1,"Aptec"]