{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["szerkesztői helyiség"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"szerkesztői helyiség","index":0,"n_rows":21,"n_cols":8,"rows_kept":21,"cut":false,"hidden":false,"merged":[[1,0,1,1],[0,5,0,7],[16,2,16,3],[19,2,19,3],[20,2,20,3],[16,4,16,5],[19,4,19,5],[20,4,20,5],[17,2,17,3],[17,4,17,5],[18,2,18,3],[18,4,18,5]]}
["SZTE BTK","HÖK Szeged, Egyetem u. 2."]
[]
["Ssz.","Megnevezés","Menny.","Egység","Anyag egységár","Díj egységre","Anyag összesen","Díj összesen"]
[]
["1.","Meglévő légtechnikai rendszer felülvizsgálata, tisztítása fertőtlenítése.",1,"klt",null,null,{"$f":"ROUND(C5*E5, 0)","v":0},{"$f":"ROUND(C5*F5, 0)","v":0}]
[]
["2.","Fűtőtestek le ill. visszaszerelése mázolás miatt.",2,"db",null,null,{"$f":"ROUND(C7*E7, 0)","v":0},{"$f":"ROUND(C7*F7, 0)","v":0}]
[]
["3.","Fűtőtesteknél elzáró szerelvények cseréje, termosztatikus fejjel ellátott előremenő szelepek",2,"db",null,null,{"$f":"ROUND(C9*E9, 0)","v":0},{"$f":"ROUND(C9*F9, 0)","v":0}]
[]
["4.","Fűtőtesteknél elzáró szerelvények cseréje, visszatérő szelepek",2,"db",null,null,{"$f":"ROUND(C11*E11, 0)","v":0},{"$f":"ROUND(C11*F11, 0)","v":0}]
[]
["5.","Fűtési rendszer fagyasztása, vagy ürítése ill. visszatöltése",1,"db",null,null,{"$f":"ROUND(C13*E13, 0)","v":0},{"$f":"ROUND(C13*F13, 0)","v":0}]
[]
[null,"Munkanem összesen:",{"$nulls":4},{"$f":"ROUND(SUM(G4:G14),0)","v":0},{"$f":"ROUND(SUM(H4:H14),0)","v":0}]
[]
[null,null,"Anyag+díj összesen:",null,{"$f":"G15+H15","v":0}]
[null,null,"Tartalékkeret 5%:",null,{"$f":"ROUND(E17*5%,0)","v":0}]
[null,null,"Áfa vetítési alap:",null,{"$f":"ROUND(E17+E18,0)","v":0}]
[null,null,"Áfa (+27%):",null,{"$f":"E19*0.27","v":0}]
[null,null,"Összesen:",null,{"$f":"E19+E20","v":0}]