{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":78,"n_cols":10,"rows_kept":78,"cut":false,"hidden":false,"merged":[[77,0,77,7]]}
[null,"Megnevezés","minőség","m3/kg","űrtartalom"," db","Nettó egységár (Ft)","Bruttó egységár (Ft)","Nettó ár összesen (Ft)","Bruttó ár összesen (Ft)"]
["1.","Szintetikus levegő HC Free","5.0","10 m3","50 L",3]
["2.","Szintetikus levegő","ipari","6 m3","40 L",3]
["3.","Szintetikus levegő","ipari","1,5 m3","14 L",10]
["4.","Szén-dioxid","élelmiszerip.","10 kg","14 L",10]
["5.","Szén-dioxid","élelmiszerip.","20 kg","27 L",10]
["6.","Szén-dioxid","élelmiszerip.","30 kg","40 L",10]
["7.","Szén-dioxid","4.5","10 kg","14 L",1]
["8.","Oxigén","ipari","1,5 m3","10 L",20]
["9.","Oxigén","ipari","6 m 3","40 L",20]
["10.","Nitrogén","5.0","6 m 3","40 L",3]
["11.","Nitrogén","5.0","10 m3","50 L",1]
["12.","Nitrogén","4.5","6 m 3","40 L",50]
["13.","Nitrogén","4.5","2 m 3","10 L",20]
["14.","Nitrogén","4.5","1.5m 3","10 L",30]
["15.","Nitrogén","4.5","10 m3","50 L",5]
["16.","Hidrogén","ipari","6 m3","40 L",5]
["17.","Hidrogén","ipari","1,75 m3","14 L",5]
["18.","Hidrogén","5.0","10 m 3","50 L",4]
["19.","Hidrogén","5.0","1.5 m3","10 L",5]
["20.","Hélium","4.6","1,5 m3","10 L",5]
["21.","Hélium","4.6","2 m3","14 L",5]
["22.","Hélium","4.6","6 m3","40 L",5]
["23.","Hélium","4.6","10 m3","50 L",2]
["24.","Hélium","5.0","2 m3","14 L",1]
["25.","Hélium","5.0","10 m3","50 L",2]
["26.","Hélium","6.0","10 m3","50 L",2]
["27.","Argon","4.6","6 m3","40 L",15]
["28.","Argon","5.0","6 m3","40 L",1]
["29.","Argon","4.6","10 m3","50 L",5]
["30.","Disszugáz","ipari","2 kg","14 L",5]
["31.","Disszugáz","ipari","4 kg","27 L",5]
["32.","Disszugáz","ipari","6 kg","40 L",5]
["33.","Disszugáz","2.6","6 kg","40 L",5]
["34.","Carbogén","CO2 O2-ben","6 m3","40 L",5]
["35.","Carbogén","CO2 O2-ben","1,5 m3","10 L",2]
["36.","Carbogén","CO2 N2-ben","6 m3","40 L",5]
["37.","Carbogén","CO2 N2-ben","1,5 m3","10 L",2]
["38.","Szárazjég  3mm, 16 mm",null,"kg",null,1000]
["39.","Szárazjég tömb ",null,"kg",null,1000]
["40.","Ferroline C18",null,"7 m3","40 L",2]
["41.","Ammónia","ipari","20 kg","40 L",1]
["42.","Kén-hidrogén","ipari",null,"10 L",1]
["43.","Metán","4.5","12 m3","50 L",1]
["44.","Metán","4.5","2,5 m3","10 L",1]
["45.","Metán","2.5","12 m3","50 L",1]
["46.","Metán","3.5","2 m3","10 L",1]
["47.","Metán","3.5","12 m3","50 L",1]
["48.","Szén-dioxid","5.5","37,5 kg","50 L",1]
["49.","Kripton","5.0","1,5 m3","10 L",1]
["50.","Kén-hidrogén nitrogénben","200ppm",null,"10 L",1]
["51.","Kén-hidrogén metánban","200ppm",null,"10 L",1]
["52.","Ammónia nitrogénben","500ppb-5ppm","6 m3","40 L",1]
["53.","Szén-dioxid nitrogénben","1%","6 m3","40 L",1]
["54.","Metán nitrogénben","1%","6 m3","40 L",1]
["55.","BTX nitrogénben","1ppm",null,"10 L",1]
["56.","NO2 szint.lev.ben","1ppm",null,"10 L",1]
["57.","Fluor héliumban","5%","1,6 m3","10 L",1]
["58.","Kalibráló gáz NO2 300ppbv szint.lev. 5.0",null,null,"10 L",1]
["59.","Kalibráló gáz NO2 300ppmv szint.lev. 5.5",null,null,"10 L",1]
["60.","Kalibráló gáz NO2 300ppbv szint.lev. 5.0",null,null,"50 L",1]
["61.","Kalibráló gáz NO2 1ppmv szint.lev. 5.0",null,null,"10 L",1]
["62.","Kalibráló gáz NO2 1ppmv szint.lev. 5.0",null,null,"50 L",1]
["63.","Kalibráló gáz NO2 5ppmv szint.lev. 5.0",null,null,"10 L",1]
["64.","Kalibráló gáz NO2 5ppmv szint.lev. 5.0",null,null,"50 L",1]
["65.","CO2 N2-ben  ","10%","6 m3","40 L",1]
["66.","CO2 N2-ben  ","100ppm","6 m3","40 L",1]
["67.","Kén-hidrogén N2-ben","2%","6 m3","40 L",1]
["68.","Kén-hidrogén N2-ben","2000ppm","6 m3","40 L",1]
["69.","Kén-hidrogén N2-ben","200ppm","6 m3","40 L",1]
["70.","Metán 4.5 5% Hélium 5.0-ban",null,"6 m3","40 L",1]
["71.","Metán 5.0 5% Hélium 5.0-ban",null,"1.5 m3","10 L",1]
["72.","Oxigén 4.5 10% Hélium 5.0-ban",null,"6 m3","40 L",1]
["73.","Oxigén 5.0 10% Hélium 5.0-ban",null,"1,5 m3","10 L",1]
["74.","Palack reduktor ipari 200/10 bar","4.8 -ig",null,null,5]
["75.","Cseppfolyós Hélium NMR befejtéssel","4.6","1 liter",null,100]
["76.","Reduktor tömítés",null,null,null,100]
["Végösszeg:"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}