{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":78,"n_cols":11,"rows_kept":78,"cut":false,"hidden":false,"merged":[[0,0,0,1]]}
["Sorszám",null,"Intézmény neve és címe","Tüzjelző típusa","Tűz és füstgátló ajtó","Hő és füst elvezetés","Menekülési irányfények","Hurok kimutatás","Kezelési útmutató","Üzemeltetési napló","Megjegyzés"]
["1.",null,"SZTE Állam-és Jogtudományi Kar (6720 Szeged, Tisza L. krt. 54.)","Siemens CS1115",null,null,"*","*","*","*","35 exit lámpa"]
["2.",null,"SZTE ÁOK Apáthy Kollégium (6720 Szeged, Apáthy u. 4.)","MMG 6201",null,null,"*","*","*","*","24 exit lámpa"]
["3.",null,"SZTE ETSZK Béke utcai      Kollégium                                     (6722 Szeged, Béke u. 11-13)","Siemens BC10",null,null,"*","*","*","*","13 exit lámpa"]
["4.",null,"SZTE ETSZK Madzsar József Kollégium                                     (6726 Szeged, Bal fasor 39-45)","Siemens BC10",null,null,"*","*","*","*","48 exit lámpa"]
["5.",null,"SZTE Gazdasági és Műszaki Főigazgatóság                              (6722 Szeged, Rákóczi tér 1.)","Siemens CS1115",null,null,"*","*","*","*","17 exit lámpa"]
["6.",null,"SZTE Gyógyszerésztudományi Kar  (6722 Szeged, Zrínyi u. 9.)","Promatt CX-32",null,null,"*","*","*","*","5 exit lámpa a tetőtérben"]
["7.",null,"SZTE Herman Ottó Kollégium      (6726 Szeged, Temesvári krt.50-52)","Hekatron Securiton BMZ 349",null,null,"*","*","*","*","18 exit lámpa"]
["8.",null,"SZTE Juhász Gyula Pedagógusképző Kar Múzeum                                      (6725 Szeged, Boldogasszony sgt. 6.)","Siemens FC 330A",null,null,"*","*","*","*","4 exit lámpa"]
["9.",null,"SZTE Juhász Gyula Pedagógusképző Kar Rajz Tanszék                                     (6725 Szeged, Brüsszeli krt.)","Siemens CS1115",null,null,"*","*","*","*","10 exit lámpa"]
["10.",null,"SZTE Juhász Gyula Pedagógusképző Kar Teleki Blanka Kollégium                                     (6722 Szeged, Semmelweis u. 5.)","Siemens CS1115",null,null,"*","*","*","*","27 vészkijárat jelző"]
["11.",null,"SZTE Károlyi Mihály Kollégium       (6724 Szeged, Kossuth L. sgt. 74.)","Siemens CS1115",null,null,"*","*","*","*","több mint 100vészkijárat jelző"]
["12.",null,"SZTE Mezőgazdasági Kar               (6800 Hmvhely. Andrássy út 15.)","Siemens CS1115",null,null,null,"*","*","*"]
["13.",null,"SZTE Tanulmányi és Információs Központ                                              (6722 Szeged, Ady tér 10)","Siemens CS1140",null,null,"*","*","*","*","176 exit lámpa"]
["14.",null,"SZTE Tanulmányi és Információs Központ                                              (6722 Szeged, Ady tér 10)","CC62P CO érzékelő",null,null,"*","*","*","*","10 db CO érzékelő (DE62)"]
["15.",null,"SZTE Tanulmányi és Információs Központ                                              (6722 Szeged, Ady tér 10)","CC62 gáz érzékelő",null,null,"*","*","*","*","4 db gáz érzékelő"]
["16.",null,"SZTE TTIK Informatikai Tanszékcsoport                                 (6720 Szeged, Árpád tér 2.)","Siemens CS1115",null,null,"*","*","*","*","18 exit lámpa"]
["17.",null,"SZTE Gazdaságtudományi Kar      (6722 Szeged, Kálvária sgt. 1.)","Siemens FC 330A",null,null,"*","*","*","*","40 exit lámpa"]
["18.",null,"SZTE TTIK Biológus Tanszékcsoport                                 (6726 Szeged, Közép Fasor 52.)","Aritech FP286422",null,null,"*","*","*","*","40 exit lámpa"]
["19.",null,"SZTE ÁOK Élettani Intézet               (6720 Szeged, Dóm tér 10.)","Bentel J506F",null,null,null,"*","*","*"]
["20.",null,"SZTE ÁOK I.sz. Belgyógyászati Klinika                                         (Szeged, Korányi fasor 8-10)","Siemens BC10",null,null,null,"*","*","*"]
["21.",null,"SZTE ÁOK II.sz. Belgyógyászati Klinika                                               (Szeged, Korányi fasor 6.)","Siemens BC10",null,null,null,"*","*","*"]
["22.",null,"SZTE ÁOK II.sz. Belgyógyászati Klinika                                               (Szeged, Korányi fasor 6.)","Fire Class 100",null,null,null,"*","*","*"]
["23.",null,"SZTE ÁOK Orvosinformatika     (Szeged, Korányi fasor 9.)","Siemens CS1115",null,null,null,"*","*","*"]
["24.",null,"SZTE ÁOK Pathológiai Intézet           (6725 Szeged, Állomás u. 2.)","Siemens CS1115",null,null,null,"*","*","*"]
["25.",null,"SZTE Onkoterápiás Intézet            (Szeged, Korányi fasor 12.)","Siemens FC 330A",null,null,null,"*","*","*"]
["26.",null,"SZTE ÁOK Gyermekgyógyászati Klinika \"B\"                                            (6720 Szeged, Temesvári krt. 35-37)","Securiton SecuriPro",null,null,null,"*","*","*"]
["27.",null,"SZTE ÁOK Gyermekgyógyászati Klinika \"A\"                                            (6720 Szeged, Korányi fasor 14-15)","Siemens CS1115",null,null,null,"*","*","*"]
["28.",null,"SZTE ÁOK Hemodinamikai Labor (6720 Szeged, Pécsi u. 4.)","Siemens BC10",null,null,null,"*","*","*"]
["29.",null,"SZTE ÁOK Fül-Orr-Gégészeti Klinika                                               (6725 Szeged, Tisza L. krt. 111.)","Siemens FC 330",null,null,null,"*","*","*"]
["30.",null,"SZTE ÁOK Szülészeti és Nőgyógyászati Klinika                     (6720 Szeged, Semmelweis u. 1.)","Securiton SFP 511-1",null,null,null,"*","*","*"]
["31.",null,"SZTE DNT                                             (6725 Szeged, Szikra u. 2.)","Promatt AM-2000",null,null,"*","*","*","*","…..exit lámpa"]
["32.",null,"SZTE Juhász Gyula Pedagógusképző Kar H3-as Pince Klub                       (6725 Szeged, Hattyas sor 10.)","Siemens FC 330A",null,null,"*","*","*","*","…..exit lámpa"]
["33.",null,"SZTE Öthalmi Diáklakások              (Szeged, Budapesti út 5.)","GLOBAL",null,null,"*","*","*","*","…..exit lámpa"]
["34.",null,"SZTE ÁOK Nagyoktatási Épület","Siemens FC 330A",null,null,null,"*","*","*"]
["35.",null,"SZTE Mérnöki Kar Kollégium (Szeged, Kollégiumi út 11.)","Siemens FC722",null,null,"*","*","*","*","vészkij.jelző 19 exit lámpa"]
["36.",null,"SZTE Egészségetudományi és Szociális Képzési Kar                         (6726 Szeged, Temesvári krt. 31.)","Menvier DF600",null,null,"*","*","*","*","43 exit lámpa"]
["37.",null,"SZTE ÁOK Központi Gyógyszertár (Szeged, Szikra u. 8.)","Edvards System Technology 6632",null,null,"*","*","*","*","régi vészvil. 14 exit lámpa"]
["38.",null,"SZTE ÁOK I.sz. Rendelőintézet         (6720 Szeged, Tisza L. krt. 97.)","Promatt AM6000",null,null,null,"*","*","*"]
["39.",null,"SZTE ÁOK GH                                 (Szeged, Tisza L. krt. 107.)","Siemens FC722",null,null,null,"*","*","*"]
["40.",null,"SZTE Semmelweis Kollégium    (Szeged, Semmelweis u. 4.)","Siemens BC-10",null,null,null,"*","*","*"]
["41.",null,"SZTE ÁOK id. Jancsó Miklós Kollégium                                      (Szeged, Semmelweis u. 7.)","Siemens BC-10",null,null,null,"*","*","*"]
["42.",null,"SZTE Regionális Tudás-transzfer és Szolgáltató Központ                        (Szeged, Dugonics tér 13.)","Siemens FC724",null,null,"*","*","*","*","95 exit lámpa"]
["43.",null,"SZTE Mérnöki Kar                     (Szeged, Moszkvai krt. 9.)","Siemens FC721",null,null,"*","*","*","*","42 exit lámpa"]
["44.",null,"SZTE Mérnöki Kar                     (Szeged, Moszkvai krt. 9.)","CO érzékelő",null,null,"*","*","*","*","12 db CO érzékelő"]
["45.",null,"SZTE Dél-alföldi Regionális Alvásdiagnosztikai és Terápiás Centrum (Szeged, Kálvária sgt. 57.)","Promatt AM-1000",null,null,"*","*","*","*","….exit lámpa"]
["46.",null,"II. Kórház 2.em \"E\" épület                                               (Szeged, Kálvária sgt. 57.)","Siemens FC 721",null,null,"*","*","*","*","….exit lámpa"]
["47.",null,"II. Kórház  2.em \"A\" épület                                                  (Szeged, Kálvária sgt. 57.)","Promatt AM-1000",null,null,"*","*","*","*","….exit lámpa"]
["48.",null,"II. Kórház Pszichiátria                                             (Szeged, Kálvária sgt. 57.)","Siemens Cerberus",null,null,"*","*","*","*","….exit lámpa"]
["49.",null,"II. Kórház Geriátria Női Osztály \"A\" épület                                                (Szeged, Kálvária sgt. 57.)","Cofem Compact Lyon",null,null,"*","*","*","*","….exit lámpa"]
["50.",null,"SZTE Irinyi épület Porta                 (Szeged, Tisza L. krt. 103.)","Siemens FC722",null,null,"*","*","*","*","….exit lámpa"]
["51.",null,"II. Kórház Urológia \"D\" épület (Szeged, Kálvária sgt. 57.)","Siemens FC722",null,null,"*","*","*","*","….exit lámpa"]
["52.",null,"II. Kórház I-II.em. Krónikus Belgyógyászat Geriátria férfi osztály (Szeged, Kálvária sgt. 57.)","Siemens FC330A",null,null,"*","*","*","*","….exit lámpa"]
["53.",null,"SZTE Irinyi épület Mesterséges Intelligencia Tanszék                                       (Szeged, Tisza L. krt. 103.)","Siemens FC724",null,null,"*","*","*","*","….exit lámpa"]
["54.",null,"SZTE TTIK Fizika Tanszékcsoport (Szeged, Dóm tér 9.)","Siemens FC722",null,null,"*","*","*","*","….exit lámpa"]
["55.",null,"SZTE TTIK Kémia Tanszékcsoport (Szeged, Dóm tér 7-8)","Siemens FC724",null,null,"*","*","*","*","….exit lámpa"]
["56.",null,"SZTE Neuropszichiátria                    (Szeged, Leányszállás köz 2/a)","GLOBAL                        ANE-JUNIOR V4",null,null,null,"*","*","*"]
["57.",null,"SZTE Bölcsészettudományi Kar (Szeged, Egyetem u. 2.)","Siemens FC330A",null,null,"*","*","*","*","….exit lámpa"]
["58.",null,"SZTE Napköziotthonos Óvoda (Szeged, Batthyány u. 5.)","Siemens BC10",null,null,"*","*","*","*","….exit lámpa"]
["59.",null,"SZTE Ifjúsági Szakorvosi Ellátás Gyermekklinika \"C\" részleg         (Szeged, Boldogasszony sgt. 15.)","Promatt AM1000",null,null,null,"*","*","*"]
["60.",null,"SZTE Gyakorló Gimnázium                                         (6722 Szeged, Szentháromság u. 2.)","Schrack Seconet",null,null,"*","*","*","*","….exit lámpa"]
["61.",null,"SZTE TTIK Bólyai épület (6720 Szeged, Aradi vértanuk tere 1.)","Siemens Cerberus"]
["62.",null,"SZTE TTIK-ÁOK Dóm tér 10-12 épülletek                                        (6720 Szeged, Dóm tér 10-12)","Siemens Cerberus"]
["63.",null,"SZTE ÁOK Anatómiai Intézet    (6724 Szeged, Kossuth Lajos sgt. 40.)","Siemens Cerberus"]
["64.",null,"SZTE ÁOK Gyermekklinika \"D\" részleg                                             (6725 Szeged, Boldogasszony sgt. 15.)","AN-1000"]
["65.",null,"SZTE Egyetemi Számítóközpont                  (6720 Szeged, Árpád tér 1.)","Siemens Cerberus"]
["66.",null,"SZTE 410 ágyas Klinika V.em. nővér öltöző                                  (6725 Szeged, Semmelweis u. 6.)","Siemens FC724",null,null,null,"*","*","*"]
["67.",null,"SZTE MAG Klinika (265 ágyas és 410 ágyas Klinika)                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/1","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/2","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/3","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/4","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/5","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/6","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/7","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
[null,"67/8","SZTE MAG Klinika                                            (6725 Szeged, Semmelweis u. 6.)","Siemens Cerberus"]
["68.",null,"SZTE ÁOK Dialízis Központ       6725 Szeged Szőkefavi-Nagy Béla u. 4.)","Cooper AM 6000/2"]
["69.",null,"SZTE Fogorvostudományi Kar (6720 Szeged, Tisza Lajos krt. 54)","Siemens Cerberus"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}