{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":35,"n_cols":13,"rows_kept":35,"cut":false,"hidden":false,"merged":[[24,1,24,6],[23,7,23,8],[23,1,23,6],[17,1,17,6],[19,1,19,6],[20,1,20,6],[21,1,21,6],[22,1,22,6],[5,7,5,8],[6,7,6,8],[4,1,4,6],[4,7,4,8],[18,1,18,6],[7,7,7,8],[18,7,18,8],[16,1,16,6],[10,1,10,6],[13,1,13,6],[5,1,5,6],[6,1,6,6],[8,1,8,6],[7,1,7,6],[12,1,12,6],[9,1,9,6],[8,7,8,8],[2,4,2,12],[2,1,2,3],[27,1,27,3],[27,4,27,12],[9,7,9,8],[11,1,11,6],[11,7,11,8],[10,7,10,8],[17,7,17,8],[12,7,12,8],[15,1,15,6],[15,7,15,8],[3,7,3,8],[3,1,3,6],[14,1,14,6],[33,1,33,6],[34,1,34,6],[31,7,31,8],[32,7,32,8],[33,7,33,8],[34,7,34,8],[31,1,31,6],[13,9,13,12],[16,7,16,8],[13,7,13,8],[14,7,14,8],[32,1,32,6],[28,1,28,6],[28,7,28,8],[29,1,29,6],[30,1,30,6],[29,7,29,8],[30,7,30,8],[21,7,21,8],[22,7,22,8],[19,7,19,8],[20,7,20,8],[24,7,24,8]]}
[]
[]
[null,"Hidegvíz almérők"]
[{"$nulls":7},"Cím",null,"Méret 2","Beszerelés vagy gyártás éve","Méret","Kötés"]
[null,"ÁOK Gyermekklinika külső porta (255799/06) ",{"$nulls":5},"Tisza Lajos krt. 111.",null,"1/2\"",2007,"NA 15","Menetes"]
[null,"Gyermek klinika almérő (02125976)",{"$nulls":5},"Korányi fasor 14-15",null,"4\"",2002,"NA 100","Peremes"]
[null,"Gyermek dialízis (al-almérő) (ZR05515856) ",{"$nulls":5},"Korányi fasor 14-15",null,"1\"",2005,"NA 25","Menetes"]
[null,"Pulzus kávézó(pince) (129030-09)",{"$nulls":5},"Tisza Lajos krt. 109.",null,"1/2\"",2010,"NA 15","Menetes"]
[null,"ÁOK Kp. Kazánház (FDK083F5001új/2)",{"$nulls":5},"Semmelweis u. 8.",null,"3\"",2005,"NA 80","Peremes"]
[null,"Szote Klub (al-almérő) (Nyári időszakban szabadtéri játékok) (402916)",{"$nulls":5},"Dóm tér 13.",null,"1/2\"",2005,"NA 15","Menetes"]
[null,"OVSZ Véradó (05056680)",{"$nulls":5},"Somogyi Béla u. 2.",null,"2\"",2005,"NA 50","Menetes"]
[null,"Körintenzív (I .Bel kl. belgyógyászati intenzív osztály) (38004)",{"$nulls":5},"Pécsi u. 4.",null,"2\"",1998,"NA 50","Menetes"]
[null,"FRESENIUS Kft. (285544-03) ",{"$nulls":5},"Semmelweis u. 6.",null,"1\"",null,"NA 25","Menetes"]
[null,"ÁOK II. Kórház",{"$nulls":5},"Kálvária sgt. 57."]
[null,"B épület pince (340086-05)\n             [Rakjuk ki]   [Mozgassuk lefelé]   [Zárjuk be]   B épület tüzivíz (340095-05) ",{"$nulls":5},"Kálvária sgt. 57.",null,"2\"",2007,"NA 50","Menetes"]
[null,"D épület (939931-05)  ",{"$nulls":5},"Kálvária sgt. 57.",null,"2\"",2007,"NA 50","Menetes"]
[null,"E épület folyosó (314413-04) ",{"$nulls":5},"Kálvária sgt. 57.",null,"2\"",2007,"NA 50","Menetes"]
[null,"Gyógyászati segédeszközök boltja (R98178046)",{"$nulls":5},"Kálvária sgt. 57.",null,"1/2\"",2007,"NA 15","Menetes"]
[null,"Kazánházi vízlágyító (22221913)",{"$nulls":5},"Kálvária sgt. 57.",null,"3/4\"",2007,"NA 20","Menetes"]
[null,"SZOTE Ételbár II. (ZR97331488)",{"$nulls":5},"Semmelweis u. 4",null,"1\"",1997,"NA 25","Menetes"]
[null,"SZOTE Ételbár I. (ZR96321753)",{"$nulls":5},"Semmelweis u. 4",null,"1/2\"",1997,"NA 15","Menetes"]
[null,"SZOTE Ételbár III. (ZR96821253)",{"$nulls":5},"Semmelweis u. 4",null,"3/4\"",1997,"NA 20","Menetes"]
[null,"DIÁKTANYA ÉTTEREM (679320/07)",{"$nulls":5},"Irinyi épület",null,"3/4\"",2007,"NA 20","Menetes"]
[null,"Tornacsarnok épület",{"$nulls":5},"Hattyas u. 6-8.",null,"6/4\"",2014,"NA 40","Menetes"]
[null,"CSABATÁJ MG Rt (almérő) Tov.szla. (95202788)",{"$nulls":5},"Tompai kapu 7.",null,"1/2\"",null,"NA 15","Menetes"]
[]
[]
[null,"Melegvíz almérők"]
[{"$nulls":7},"Cím",null,"Méret 2","Beszerelés vagy gyártás éve","Méret","Kötés"]
[null,"ÁOK Neuropszichiátriai Intézet I. (al-almérő) (CF000052/99)",{"$nulls":5},"Leányszállásköz 2/a.",null,"1\"",1999,"NA 25","Menetes"]
[null,"ÁOK Neuropszichiátriai Intézet II. (al-almérő) (201256) ",{"$nulls":5},"Leányszállásköz 2/a.",null,"2\"",2000,"NA 50","Menetes"]
[null,"EFK Temesvári körúti épület (almérő) (98374762) ",{"$nulls":5},"Temesvári krt. 31.",null,"5/4\"",1998,"NA 32","Menetes"]
[null,"EFK Szociális Munkásképző Bal fasori épület (almérő) (98316796)",{"$nulls":5},"Bal fasor 39-45.",null,"5/4\"",1998,"NA 32","Menetes"]
[null,"Irinyi I. melegvíz mérő (397732/07)",{"$nulls":5},"Tisza Lajos krt. 103.",null,"2\"",2007,"NA 50","Menetes"]
[null,"Irinyi II. melegvíz mérő (397734/07) ",{"$nulls":5},"Tisza Lajos krt. 103.",null,"6/4\"",2007,"NA 40","Menetes"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}