{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":41,"n_cols":15,"rows_kept":41,"cut":false,"hidden":false,"merged":[[6,11,6,13],[2,2,2,13],[4,5,4,6],[4,7,4,8],[4,9,4,10],[23,1,24,1],[23,2,24,2],[23,3,24,10],[23,11,24,13],[20,1,21,1],[20,2,21,2],[20,3,21,10],[20,11,21,13],[11,2,12,2],[6,3,6,10],[11,3,12,10],[11,11,12,13],[28,1,29,1],[28,2,29,2],[28,3,29,10],[28,11,29,13],[33,1,34,1],[33,2,34,2],[33,3,34,10],[33,11,34,13],[38,14,38,18],[39,14,39,18],[40,14,40,18],[36,1,37,1],[36,2,37,2],[36,3,37,10],[36,11,37,13]]}
[]
[]
[null,null,"SZTE NYOMÁSTARTÓ BERENDEZÉSEK"]
[]
[null,null,"STERILEZŐ","GŐZFEJLESZTŐ","LÉGTARTÁLY","AUTOKLÁV",null,"  KAZÁNOK",null,"OLAJTÁROLÓK"]
[null,"SZTE számozás","Intézmény neve","Üzemel","Berendezés elnevezése","Gyári szám","Gyártási év","KAR megnev.:","Besorolási (üzemi) nyomás (bár)","Besorolási térfogat","ps.v","Külső ellenőrzés","Belső ellenőrzés","Szilárdsági ellenőrzés"]
[null,null,"Klinikakert \"É\""]
[null,5,"Sebészeti klinika","Szeged, Pécsi u. 6.","gőzfejlesztő  CERTUSS",27030,2002,"ÁOK (b)",4.5,53,238.5,"2016-10-10","-","2019-10-10"]
[null,6,"Sebészeti klinika","Szeged, Pécsi u. 6.","légtartály",209895,1995,"ÁOK (b)",10,500,5000,"2016-11-02","2016-11-02","2016-11-02"]
[null,7,"Szemészeti klinika","Korányi fasor 10-11.","gőzfejlesztő CERTUSS",27029,2002,"ÁOK (b)",4.5,53,238.5,"2016-10-10","-","2019-10-10"]
[null,74,"Mikro és Immunbiol. Int.","Dóm tér 10-11.","LVS 50/70 autokláv",1220,2000,"ÁOK (o)",2.5,137,274,"2016-04-15","2017-04-15","2017-04-15"]
[null,null,"Klinikakert \"D\""]
[]
[null,43,"410 ágyas Klinika","Semmelweis u. 6.","légtartály",20999,1988,"ÁOK (b)",16,1000,16000,"2016-08-12","2018-08-12","2018-08-12"]
[null,92,"265 ágyas Klinika","Semmelweis u. 6.","légtartály",52243,2013,"ÁOK (b)",16,1000,16000,"2016-10-15","2018-10-15","2023-10-15"]
[null,93,"265 ágyas Klinika","Semmelweis u. 6.","légtartály",52244,2013,"ÁOK (b)",16,1000,16000,"2016-10-15","2018-10-15","2023-10-15"]
[null,70,"Női Klinika","Semmelweis u.1.","GE 2609-1 Sterilező",980831,1998,"ÁOK","3/-1 és 3.5",415,null,"2016-02-28","2018-02-28","2018-02-28"]
[null,23,"Klinikai Mikrobiol. Int.","Semmelweis u. 6.","autokláv     em.",433,1977,"ÁOK",2.5,115,287.5,"2016-10-24","2016-10-24","2016-10-24"]
[null,24,"Klinikai Mikrobiol. Int.","Semmelweis u. 6.","autokláv     em.","31-4764/0",null,"ÁOK","3,0/ 1és3,0","150/16",null,"2016-11-24","2016-11-24","2016-11-24"]
[null,25,"Klinikai Mikrobiol. Int.","Semmelweis u. 6.","autoklav",452,1977,"ÁOK",2.5,115,null,"2016-10-24","2016-10-24","2016-10-24"]
[null,null,"GYTK"]
[]
[null,50,"GYTK","Eötvös u. 2.","légtartály",29016,1975,"GYTK",10,2000,20000,"2016-08-18","2018-08-18","2018-08-18"]
[null,null,"Biológia Újszeged"]
[]
[null,60,"Biológia Mikrobiológia Tsz","Közép fasor 52.        3.em.","autokláv","31-18200/9",1959,"TTIK",2.5,150,375,"2016-11-21","2016-11-21","2016-11-21"]
[null,29,"Biol.Mikrobiol.Tanszék","Közép fasor 52.        3.em.","autokláv","315382/2",1958,"TTIK",2.5,150,375,"2016-11-21","2016-11-21","2016-11-21"]
[null,30,"Biol.Mikrobiol.Tanszék","Közép fasor 52.        3.em.","autokláv","1511-558-53",1958,"TTIK",2.5,125,312.5,"2016-11-21","2016-11-21","2016-11-21"]
[null,null,"Mérnök kar"]
[]
[null,88,"SZTE MK","Moszkvai krt. 9.","légtartály",435294,2009,"MK",11,500,5500,"2016-04-14","2021-04-14","2021-04-14"]
[null,55,"SZTE MK","Moszkvai krt. 5-7.","TP 300/12G   I.",9182,1987,"MK",8,860,6880,"2016-07-06","2016-07-06","2016-07-06"]
[null,56,"SZTE MK","Moszkvai krt. 5-7.","TP 300/12G   II.",9183,1987,"MK",8,860,6880,"2016-07-06","2016-07-06","2016-07-06"]
[null,null,"MGK Hmvhely"]
[]
[null,33,"SZTE MGK Hmvhely Mikrobiológia","Andrássy u.15.","autokláv",81013,1981,"MGK","1és2,5/2,5",150,null,"2016-10-31","2016-10-31","2016-10-31"]
[null,null,"II. Korház"]
[]
[null,80,"II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 669-2V",5042,2005,"ÁOK",3,493,1479,"2016-01-14","2018-01-14","2018-01-14","(Csak a szerződött karbantartó bonhatja meg!!!)"]
[null,79,"II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 669-2V",5041,2005,"ÁOK",3,493,1479,"2016-01-14","2018-01-14","2018-01-14","(Csak a szerződött karbantartó bonhatja meg!!!)"]
[null,81,"II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 66-12-V",5017,2005,"ÁOK",2.75,713,1961,"2016-10-18","2016-10-18","2016-10-18","(Csak a szerződött karbantartó bonhatja meg!!!)"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}