{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":27,"n_cols":9,"rows_kept":27,"cut":false,"hidden":false,"merged":[[16,0,23,0],[16,1,23,4],[26,1,26,4],[10,1,10,4],[10,5,10,6],[11,0,12,0],[22,5,22,6],[17,5,17,6],[18,5,18,6],[19,5,19,6],[11,1,12,4],[20,5,20,6],[40,5,40,6],[29,5,29,6],[31,5,31,6],[15,1,15,4],[21,5,21,6],[33,2,33,4],[33,5,33,6],[34,1,34,4],[34,5,34,6],[35,1,41,4],[36,5,36,6],[37,5,37,6],[38,5,38,6],[39,5,39,6],[41,5,41,6],[1,7,1,8],[5,1,5,7],[3,0,3,1],[11,5,11,6],[12,5,12,6],[4,2,4,6]]}
[]
[{"$nulls":7},"1. sz. melléklet"]
[]
[]
[null,null,"2017 évi szűrő rendelés (Klinikai kőzpont)"]
[null," (szén szűrő és steril szűrők)"]
[]
[]
[]
[]
[null,"megnevezés ",null,null,null,"méret",null,"mennyiség","száll."]
["1.","H 13",null,null,null,"915x610x078",null,8,2017]
[{"$nulls":5},"305x305x078",null,7,"január"]
[]
[]
[null,"megnevezés ",null,null,null,"méret",null,"mennyiség"]
["2.","H 13"]
[{"$nulls":5},"610x610x150",null,40]
[{"$nulls":5},"457x457x150",null,7,2017]
[{"$nulls":5},"305x305x150",null,7,"május"]
[{"$nulls":5},"305x610x150",null,5]
[{"$nulls":5},"305x610x078",null,5]
[{"$nulls":5},"305x305x078*",null,6]
[]
[]
[]
[3,"cc 260 D 145 L450  szénszűrő",{"$nulls":5},120,"2017 március"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}