{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":38,"n_cols":9,"rows_kept":38,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,1,1,2],[1,3,1,4]]}
["Rektori Hivatal külső nyílászárók javítása II. emelet"]
[null,"Anyagpótlásos javítás",null,"Anyagpótlás nélküli"]
["Helyiség száma","Vízvető csere, javítás (db)","Zár csere javítás          ( tolózár) (db)","Pászítás (db)","Nyílászár. mennyiség  száma  (db)","Tokok külső szilikonos tömítés fal mellett            (m)","Gumicsíkos tömítése külső nyíló szárny (m)","Könyöklő  bádog tömítés pótl. ( m) ","Nyílászárók csiszolása, mázolása külső sz.(m2)"]
["Díszter. 203",3,3,1,5,72,198,11,233]
[204,0,1,0,2,12,28,3,13]
[205,0,0,1,2,12,28,3,13]
[206,0,2,2,4,24,56,6,26]
[207,1,0,1,1,6,14,1.5,6.5]
[208,0,0,0,1,0,14,1.5,6.5]
["Rektor h.214",0,0,1,1,0,14,1.5,6.5]
[215,0,0,0,1,0,14,1.5,6.5]
[216,0,2,1,3,18,42,4.5,19.5]
[217,1,0,0,1,0,14,1.5,6.5]
["Női WC.",0,1,0,1,6,14,1.5,6.5]
["Tea konyha",0,0,0,1,0,14,1.5,6.5]
["Lépcsőház",0,0,1,1,0,14,1.5,6.5]
[224,1,0,0,1,6,14,1.5,6.5]
[225,0,0,0,1,0,14,1.5,6.5]
[226,0,0,0,1,0,14,0,7.5]
[227,2,1,1,2,12,28,3,13]
[228,0,0,0,1,0,14,1.5,6.5]
["Tárgyaló 229",1,2,1,2,12,28,3,13]
["Inform. 232",0,0,1,1,6,14,1.5,6.5]
[233,1,2,0,1,0,14,1.5,6.5]
[234,0,1,0,1,0,14,1.5,6.5]
[235,1,1,1,2,0,28,3,13]
[236,0,1,1,1,6,14,1.5,6.5]
[237,0,1,0,1,0,14,1.5,6.5]
[238,0,0,0,1,0,14,1.5,6.5]
[239,0,1,0,1,0,14,1.5,6.5]
[240,0,1,0,1,6,14,1.5,6.5]
[241,1,2,2,3,18,42,4.5,19.5]
[242,0,0,0,1,0,14,2,6.5]
["Kiszolg. 243",1,2,1,2,12,28,3,13]
["Kiszolg. 244",0,1,0,1,6,14,1.5,6.5]
[]
["II. em. ÖSSZESEN :                                                                                                                                          "]
[null,13,25,16,49,234,814,76,520]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}