{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":37,"n_cols":9,"rows_kept":37,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,1,1,2],[1,3,1,4]]}
["Rektori Hivatal külső nyílászárók javítása földszint"]
[null,"Anyagpótlásos javítás",null,"Anyagpótlás nélküli"]
["Helyiség száma","Vízvető csere, javítás (db)","Zár csere javítás          ( tolózár) (db)","Pászítás (db)","Nyílászár. mennyiség  száma  (db)","Tokok külső szilikonos tömítés fal mellett            (m)","Gumicsíkos tömítése külső nyíló szárny (m)","Könyöklő  bádog tömítés pótl. ( m) ","Nyílászárók csiszolása, mázolása külső sz.(m2)"]
[5,0,1,0,3,18,46.5,4.5,22.5]
[9,2,2,0,5,30,77.5,7.5,37.5]
[11,0,1,1,2,12,31,3,15]
[13,1,0,1,2,12,31,3,15]
[14,0,2,2,4,24,62,6,30]
["Női WC.",0,0,0,1,6,15.5,1.5,7.5]
[18,1,0,0,1,0,15.5,1.5,7.5]
["Férfi WC",0,0,0,1,0,15.5,1.5,7.5]
["Mozgáss. WC",0,0,1,1,0,15.5,1.5,7.5]
["Takarító rakt",0,0,0,1,0,15.5,1.5,7.5]
[31,0,0,1,2,0,31,3,15]
[32,0,1,0,1,6,15.5,1.5,7.5]
[33,1,0,0,2,0,31,3,15]
[34,0,1,0,1,6,15.5,1.5,7.5]
[35,0,0,2,3,18,46.5,4.5,22.5]
[36,1,0,0,1,0,15.5,1.5,7.5]
[37,0,1,0,2,0,31,3,15]
[39,0,1,0,1,6,15.5,1.5,7.5]
[40,0,0,0,1,0,15.5,1.5,7.5]
[41,0,0,0,1,0,15.5,1.5,7.5]
[42,0,0,0,1,0,15.5,1.5,7.5]
[43,1,1,0,3,0,46.5,4.5,22.5]
[44,0,0,0,3,0,46.5,4.5,22.5]
[45,0,0,0,1,6,15.5,1.5,7.5]
[]
[]
["Földszint ÖSSZESEN :"]
[]
[null,7,11,8,44,144,682,66,330]
[]
[]
[]
[]
["                                                                                                                                         "]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}