{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":37,"n_cols":13,"rows_kept":37,"cut":false,"hidden":false,"merged":[[0,0,0,8],[1,1,1,2],[1,3,1,4]]}
["Rektori Hivatal külső nyílászárók javítása alagsor és homlokzati kapuk, ajtők"]
[null,null,null,"Anyagpótlás nélküli"]
["Helyiség száma","Vízvető csere, javítás (db)","Zár csere javítás          ( tolózár) (db)","Pászítás (db)","Nyílászár. mennyiség  száma  (db)","Tokok külső SYKA tömítés fal mellett            (m)","Gumicsíkos tömítése külső nyíló szárny (m)","Könyöklő  bádog tömítés pótl. ( m) ","Nyílászárók csiszolása, mázolása külső sz.(m2)"]
["Szökőkút felőli oldal",2,0,2,"ablak 8",14,35,0,15.5,null,null,null,"                                                                             "]
["Nagyárúház felőli oldal ",6,0,4,"ablak 6",16,25,0,10]
["Óvoda felőli oldal",0,0,2,"ablak 11",10,46,0,18.5]
["LOMBARD felőli oldal",1,0,1,"ablak 7",14,28,0,12]
["Szökőkút felöli oldal",null,0,0,"kapu 3",0,0,0,32]
["Nagyáruház felöli oldal",null,0,0,"ajtó 3",0,0,0,16]
["Óvoda felöli oldsl",null,0,0,"ajtó+kapu",0,0,0,21]
["LOMBARD felöli oldal",null,0,0,"szellőzők 2",0,0,0,11]
[]
["Összesen:",9,0,9,42,54,134,0,136]
{"$rows_empty":23}
["                                                                                                                                         "]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}