{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Munka1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":33,"n_cols":4,"rows_kept":33,"cut":false,"hidden":false,"merged":[]}
["SZTE Sportközpont"]
[]
["Tanári épület"]
[" 1,7 l/p lopásnehezített vízadagoló ","M24x1",17,"db"]
[" 5,0 l/p lopásnehezített vízadagoló ","M22x1",1,"db"]
["7,0 l/p zuhanyvíz adagoló","3/4x3/4",11,"db"]
["8,0 l/p zuhanyvíz adagoló","3/4x3/4",2,"db"]
["wc stop","STD",9,"db"]
["Lopásnehezített kulcs","nagy",2,"db"]
[]
["Küzdő terem"]
["1,7 l/p lopásnehezített vízadagoló ","M24x1",5,"db"]
["3,0 l/p lopásnehezített vízadagoló ","M22x1",1,"db"]
["8,0 l/p zuhanyvíz adagoló","1/2x1/2",9,"db"]
["átalakító","1/2-M22",1,"db"]
["wc stop","STD",6,"db"]
["wc stop","5részes",1,"db"]
[]
["Cselgáncs"]
["8,0 l/p zuhanyvíz adagoló","3/4x3/4",1,"db"]
["wc stop","5részes",1,"db"]
[]
["Tornaterem"]
["1,7 l/p lopásnehezített vízadagoló ","M22x1",5,"db"]
["8,0 l/p zuhanyvíz adagoló","3/4x3/4",6,"db"]
["wc stop","STD",3,"db"]
[]
["Sport és kondi"]
["1,7 l/p lopásnehezített vízadagoló ","M24x1",13,"db"]
["3,0 l/p lopásnehezített vízadagoló ","M24x1",1,"db"]
["8,0 l/p zuhanyvíz adagoló","3/4x3/4",6,"db"]
["8,0 l/p zuhanyvíz adagoló","1/2x1/2",7,"db"]
["wc stop","STD",12,"db"]