{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":15,"n_cols":13,"rows_kept":15,"cut":false,"hidden":false,"merged":[[2,0,2,11],[4,3,4,4],[4,5,4,6],[4,7,4,8],[8,0,9,0],[6,1,6,8],[8,1,9,8],[8,9,9,11],[6,9,6,11],[14,12,14,16],[11,0,12,0],[11,1,12,8],[11,9,12,11],[13,12,13,16]]}
[]
[]
["SZTE NYOMÁSTARTÓ BERENDEZÉSEK"]
[]
["STERILEZŐ","GŐZFEJLESZTŐ","LÉGTARTÁLY","AUTOKLÁV",null,"  KAZÁNOK",null,"OLAJTÁROLÓK"]
["Intézmény neve","Üzemel","Berendezés elnevezése","Gyári szám","Gyártási év","KAR megnev.:","Besorolási (üzemi) nyomás (bár)","Besorolási térfogat","ps.v","Külső ellenőrzés","Belső ellenőrzés","Szilárdsági ellenőrzés"]
["Klinikakert \"É\""]
["Mikro és Immunbiol. Int.","Dóm tér 10-11.","LVS 50/70 autokláv",1220,2000,"ÁOK (o)",2.5,137,274,"2019-11-22","2017-04-15","2017-04-15"]
["Klinikakert \"D\""]
[]
["Női Klinika","Semmelweis u.1.","GE 2609-1 Sterilező",980831,1998,"ÁOK","3/-1 és 3.5",415,null,"2019-11-22","2018-02-28","2018-02-28"]
["II. Korház"]
[]
["II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 669-2V",5042,2005,"ÁOK",3,493,1479,"2019-11-01","2018-01-14","2018-01-14","(Csak a szerződött karbantartó bonhatja meg!!!)"]
["II. Korház","Kálvária sgt. 57.","sterilizáló  (Sanamij)              tip: 669-2V",5041,2005,"ÁOK",3,493,1479,"2019-11-01","2018-01-14","2018-01-14","(Csak a szerződött karbantartó bonhatja meg!!!)"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}