{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Munka1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
[]
[null,"A termék megnevezése/specifikáció","Igényelt mennyiség","Kiszerelés ","A gyártó megnevezése "]
["1. részajánlati kör:"]
[null,"Zorbax 300SB-C18, 5µm, 5*0,3mm, 5/pk ",4,"5 db/csomag","Zorbax"]
[null,"Zorbax 300SB-C18, 3,5 µm, 150*0,075mm",9,"1 db","Zorbax"]
[]
["2.részajánlati kör:"]
[null,"TUB PEEKSIL 1/32X25UMX20CM",4,"2db/csomag","PEEKSIL"]
[null,"TUB PEEKSIL 1/32X25UMX10CM",9,"2db/csomag","PEEKSIL"]
[]
["3.részajánlati kör:"]
[null,"Lys-C Protease\n",6,"20ug","Pierce "]