{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Munka1","Munka2","Munka3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":11,"n_cols":5,"rows_kept":11,"cut":false,"hidden":false,"merged":[[2,0,2,4],[5,0,5,4],[7,0,7,4]]}
[]
["A termék megnevezése","Specifikáció (a termék műszaki paraméterei)","Igényelt mennyiség","Kiszerelés (amennyiben releváns)","A gyártó megnevezése (amennyiben releváns)"]
["ELSŐ RÉSZAJÁNLATI KÖR"]
["250 μl szűkítő HPLC üvegbe","250 ul Insert with mandrel interior and polymer feet, 29*5.7mm for ND9 Vials","10 csomag","100 db / csomag"]
["1 ml üvegcse, műanyag pattintós kupakkal","1ml shell vials, clear, 8mm PE-snap top,soft, without insert 8.2*40mm","10 doboz","100 db / doboz"]
["MÁSODIK RÉSZAJÁNLATI KÖR"]
["PTFE Frits 5PK","PTFE Frits for HPLC pump (Agilent 1100)","10 csomag","5 db / csomag"]
["HARMADIK RÉSZAJÁNLATI KÖR"]
["Váltó szelep (oldószerváltáshoz) Agilent 1100 kvaterner pumpához","Purge valve assembly, SS For 1100 and 1050 pumps (G1311-60009)","1 db","1 db","Agilent"]
["Tömítőgyűrű szerelvény Agilent 1100 rendszerhez","Seal Cap Assembly (5067-4728)","2 db","1 db","Agilent"]
["Kimeneti szelep Agilent 1260-as rendszerhez","Outlet Valve 1220/1260 (G1312-60067)","2 db","1 db","Agilent"]

{"sheet":"Munka2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Munka3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}