{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Munka1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Munka1","index":0,"n_rows":35,"n_cols":7,"rows_kept":35,"cut":false,"hidden":false,"merged":[[31,5,31,6],[7,1,7,2],[27,5,27,6],[28,5,28,6],[29,5,29,6],[30,5,30,6]]}
[]
[]
["SZTE Műszaki Igazgatóság"]
[]
["Tárgy: „Tompai Kapu telephelyen könnyűszerkezetes irodaépület bontása alappal együtt, új lemezalap készítése”"]
["Cím: Szeged, Tompai kapu út 9."]
[]
["Munkanem","Mennyiség",null,"Anyag","Díj","Összanyag","Öszdíj"]
["Faház tető bontása",1,"tétel",0,0,{"$f":"D9*B9","v":0},{"$f":"E9*B9","v":0}]
["Faház kézi bontása",1,"tétel",0,0,{"$f":"D10*B10","v":0},{"$f":"E10*B10","v":0}]
["Kikerülő hulladék elszállítása lerakóba",1,"tétel",0,0,0,0]
["Meglévő vasbeton lemez elbontása",250,"m2",0,0,0,0]
["Meglévő kémény-melléképület elbontása",1,"tétel",0,0,0,0]
["Törmelék elszállítása",280,"m3",0,0,0,0]
["Földtükör kiemelése",{"$f":"250*0.4","v":100},"m3",0,0,0,0]
["Kikerülő föld elszállítása",{"$f":"B15","v":100},"m3",0,0,0,0]
["Tükörkészítés",{"$f":"250","v":250},"m2",0,0,0,0]
["Darált beton-tégla ágyazat 35 cmvtg-ban készítése ",{"$f":"B17*0.35","v":87.5},"m3",0,0,0,0]
["Ágyazat kiékelése felső 5 cm-ben",{"$f":"B17*0.05","v":12.5},"m3",0,0,0,0]
["Zsaluzat készítése ",70,"fm",0,0,0,0]
["8-as Térháló elhellyezése",25,"db",0,0,0,0]
["Térbeton készítése 10*25=250 m2",{"$f":"250*0.15","v":37.5},"m3",0,0,{"$f":"D22*B22","v":0},{"$f":"E22*B22","v":0}]
["Pumpa",1,"nap",0,0,{"$f":"D23*B23","v":0},{"$f":"E23*B23","v":0}]
["Dilatáció készítése",45,"fm",0,0,{"$f":"D24*B24","v":0},{"$f":"E24*B24","v":0}]
["Közműcsatlakozási pontok kiépítése",1,"tétel",0,0,{"$f":"D25*B25","v":0},{"$f":"E25*B25","v":0}]
["100x100x100 cm belső méretű előre gyártott szakaszoló akna elhelyezése",1,"tétel",0,0,{"$f":"D26*B26","v":0},{"$f":"E26*B26","v":0}]
["Építmény közvetlen költségei",{"$nulls":4},{"$f":"SUM(F9:F26)","v":0},{"$f":"SUM(G9:G26)","v":0}]
["Közvetlen költségek összesen",{"$nulls":4},{"$f":"F27+G27","v":0}]
["Tartalékkeret",0.05,null,null,null,{"$f":"F28*0.05","v":0}]
["ÁFA vetítési alap",{"$nulls":4},{"$f":"F28+F29","v":0}]
["Áfa",0.27,null,null,null,{"$f":"F30*0.27","v":0}]
["A munka ára",{"$nulls":4},{"$f":"F30+F31","v":0}]
[]
[]
["Szeged 2019."]